| Queries after Pre bid meeting and site visit |  |  |  |  |
| --- | --- | --- | --- | --- |
| Sl. no. | Vol no. / Pg no. /Clause no. | Description of clause | Bidders observation | OIL’s reply |
| 1. | Site visit to proposed location of GCS | It was observed during the site visit that the land proposed to be provided by OIL for the project is yet to be demarcated by boundary wall. Also there was no access road to the plot. It appeared that OIL did not have possession of the plot or approach road as yet. The prospective bidders along with OIL officials visiting the site had to trespass through the premises of dwellers in between the road and the proposed project plot. It was informed at the site that the FGL of the proposed site (274m x 228m) shall be 500 mm above the plinth level of well No. Makum 8 opposite to the proposed site. As regards the soil condition an assumption of 10 ton / sqm. has been asked to make based on the nearby location data. | In absence of boundary wall and approach road to the project site, it will be very difficult to make even a rough topographical survey of the plot and estimate the cost of land development. As the area measures about 63,000 sq m. the earth filling will be substantial and the cost incurred would be enormous having significant impact on price bid. In order to make a reasonable estimate of the total earth filling cost for the proposed plot, a detailed survey report must be made available. Similarly, a soil test report of the actual site is required to make realistic cost estimate of foundations for heavy gas compressors, Dehydration Unit and ETP. In the best interest of the project our humble submission to OIL is that the boundary wall, approach road and the detailed survey report and the soil test report of the proposed project site be made available before the bidders are asked to submit the techno-commercial bid. | Boundary wall construction has been initiated by OIL. Earth filling is required in the plant’s process area only. The entire land available within the area earmarked is not solely for construction of GCS. The bidder shall utilise minimum required land from the entire plot available. A tentative elevation of the proposed plot of land may be provided by OIL. OIL is in the job and bidders shall be informed in due course of time. Boundary wall is in the scope of OIL, OIL will arrange for the boundary wall. The detail soil investigation is in the scope of the bidder. |
| 2. | Vol no. 1 commercial. Pg. No. 8, Clause no: 6.0 DOCUMENTS COMPRISING THE BID: 6(a) (i) | Complete technical details of the services and equipment specifications with catalogue, etc. | During the pre bid meeting held on 17 Aug 2016 at Guwahati it was informed that catalogues of equipment need not be submitted with the technical bid. Request OIL to give the revised list of docs that are to be submitted with the technical bid. | Both Part-1 ITB Clause 6(a) Technical Bid and Note 8 are relevant to a particular context. |