- OIL INDIA LIMITED

DULIAJAN, ASSAM

- BID DOCUMENT

FOR

3 x 10 MW GAS ENGINE GENERATOR PLANT

AT DULIAJAN, ASSAM

DEVELOPMENT CONSULTANTS PVT. LTD.

CONSULTING ENGINEERS

24 PARK STREET, KOLKATA–700 016, INDIA

|  | DOCUMENT CONTROL SHEET |
| --- | --- |

Project	:	3 X 10 MW GAS ENGINE GENERATOR PLANT AT DULIAJAN, ASSAM

Client	:	OIL INDIA LIMITED

DCL Job No.	:	DCPL-18210

Document Title	:	BID DOCUMENT

Document No.	:	18210-FND-SPC-G-0001

DEVELOPMENT CONSULTANTS PRIVATE LIMITED

CONSULTING ENGINEERS

Development Consultants House

Block DG-4, Sector-II, Salt Lake City, Kolkata-700 091, India

Tel: (91) 33 4012 5000  Fax: (91) 33 4012 4545/2249 2340

E-mail: dcl@dclgroup.com

Website: www.developmentconsultants.org

REGD. OFFICE: 24 Park Street, Kolkata-700 016, INDIA

Tel:  (91) 33 4012 4500, 2249 7603/05/09/10/12  Fax: (91) 33 4012 4545, 2249 2340

## TABLE OF CONTENTS

| ### A) COMMERCIAL (Part-1, Part-2, Part-3 Section –I, Part-3 Section –III, Part-3 Section-IV, Proforma) |  |
| --- | --- |
| B) TECHNICAL SPECIFICATIONS ( PART 3, SECTION –II ) |  |
| Book-1 of 6 | General & Mechanical |
| Book 2 of 6 | Electrical and Instrumentation & Control |
| Book 3 of 6 | Civil & Structural and Architectural |
| Book 4 of 6 | Drawings |
| Book 5 of 6 | Proposal Exhibit Sheets |
| Book 6 of 6 | Forms – 1, 2 & 3 |

TABLE OF CONTENTS

Part-3, Section-II:	TECHNICALSPECIFICATIONS (SCC)

Book 1 		:	GENERAL AND MECHANICAL

General

G-0	:	LEAD TECHNICAL SPECIFICATION

ATTACHMENTS

ATTACHMENT-1	:	SITE DATA/ CLIMATOLOGICAL DATA

ATTACHMENT-2	:	WATER ANALYSIS REPORT

ATTACHMENT-3	:	FUEL GAS ANALYSIS

ATTACHMENT-4	:	SCHEDULE OF CLEARANCES/ PERMITS

### Mechanical

- :	GAS ENGINE GENERATOR

- :	GAS CONDITIONING CUM FILTRATION SYSTEM

- :	COMPRESSED AIR SYSTEM

- :	AIR CONDITIONING SYSTEM

- :	VENTILATION SYSTEM

- :	FIRE PROTECTION SYSTEM(EXTENSION)

- :	PUMPS

- :	PIPING

- :	VALVES

- :	CRANES & HOISTS

- :	PAINTING

- :	ERECTION, TESTING & COMMISSIONING

TABLE OF CONTENTS

PART-3 Section -II	:	TECHNICAL SPECIFICATIONS (SCC)

Book-2 			:	ELECTRICAL AND INSTRUMENTATION & CONTROL

### Electrical

E-0	:	GENERAL - ELECTRICAL

E-1	:	SYNCHRONOUS GENERATOR

E-3	:	GENERATOR PHASE & NEUTRAL SIDE CUBICLES

E-4	:	POWER TRANSFORMER

E-5	:	H.T. BUS DUCT

E-8	:	11 KV SWITCHGEAR

E-9	:	PLANT AUXILIARY TRANSFORMER

E-10	:	L.T. BUSDUCT

E-11	:	415V SWITCHGEAR

E-12	:	MOTOR CONTROL CENTRE AND DISTRIBUTION BOARD

E-13	:	ELECTRIC MOTORS

E-14	:	ELECTRIC MOTOR ACTUATORS

E-15	:	BATTERY AND BATTERY CHARGER

E-16	:	UNINTERRUPTIBLE POWER SUPPLY SYSTEM

E-17	:	PROTECTIVE RELAY PANEL

E-18	:	DIESEL GENERATOR SET

E-19	:	PLANT ILLUMINATION SYSTEM

E-21	:	PLANT GROUNDING AND LIGHTNING PROTECTION SYSTEM

E-22	:	CABLE TRAYS AND ACCESSORIES

E-23	:	POWER AND CONTROL CABLES

E-24	:	MISCELLANEOUS PANELS

E-26	:	ERECTION, TESTING AND COMMISSIONING OF ELECTRICAL EQUIPMENT, CABLE TRAY, CABLING & GROUNDING SYSTEMS

### Instrumentation & Control

- :	SPECIFIC TECHNICAL DETAILS ON CONTROL & INSTRUMENTATION DEVICES AND SYSTEM

PART-3 Section -II		:	TECHNICAL SPECIFICATIONS       (SCC)

Book 3				:	CIVIL, STRUCTURAL AND ARCHITECTURAL

### Civil & Structural

- :	GENERAL – CIVIL & STRUCTURAL & ANNEXURES ON SITE SURVEY AND GEOTECHNICAL INVESTIGATION

- :	NOT USED

- :	NOT USED

- :	AREA GRADING

- :	EARTH WORK IN EXCAVATION & BACK FILLING

- :	CEMENT CONCRETE (PLAIN & REINFORCED)

- :	DRIVEN PRECAST CONCRETE PILES

- :	DRIVEN CAST IN SITU CONCRETE PILES

- :	BORED CAST-IN-SITU CONCRETE PILES

- :	FABRICATION OF STRUCTURAL STEEL WORK

- :	ERECTION OF STRUCTURAL STEEL WORK

- :	NOT USED

### Architectural

- :	GENERAL – ARCHITECTURAL

- :	MASONRY AND ALLIED WORK

- :	FINISH TO MASONRY AND CONCRETE

- :	FLOOR FINISH AND ALLIED WORKS

- :	CARPENTRY AND JOINERY

- :	SUSPENDED CEILING

- :	METAL DOORS, WINDOWS, VENTILATORS, LOUVERS, ETC.

- :	GLASS AND GLAZING

- :	ROLLING STEEL SHUTTERS AND GRILLS

- :	MISCELLANEOUS METAL

- :	PAINTING, WHITE WASHING, POLISHING, ETC.

- :	ROOF WATER PROOFING, INSULATION AND ALLIED WORKS

- :	WATER SUPPLY

- :	SHEET WORK IN ROOF AND SIDING

- :	DRAINAGE AND SANITATION

- :	ANTI-TERMITE TREATMENT

- :        FALSE FLOORING

- :        WALL CLADDING AND ROOF DECKING

PART-3 Section -II	:	TECHNICAL SPECIFICATIONS (SCC)

Book 4		:	DRAWINGS

#### Mechanical

18210-DWG-M-0101	:	PLOT PLAN

REV. 0

18210-DWG-M-0102	:	GEG HALL LAYOUT & SECTION

REV. 0

18210-DWG-M-0103  :		SCHEME –FUEL GAS SYSTEM

REV.0

18210-DWG-M-0104	:	SCHEME - LUBE OIL UNLOADING, STORAGE AND REV. 0		HANDLING SYSTEM

18210-DWG-M-0105	:	SCHEME – COOLING WATER SYSTEM

REV. 0

18210-DWG-M-0106	:	SCHEME – SCHEME SERVICE WATER EXTENSION REV 0		SYSTEM

18210-DWG-M-0107	:	SCHEME – COMPRESSED AIR SYSTEM

REV 0

18210-DWG-M-0108	:	SCHEME – FIRE PROTECTION SYSTEM ( EXTN)

REV. 0

18210-DWG-M-0109	:	SCHEME – WASTE WATER SYSTEM

REV. A

18210-DWG-M-0110	:	EXISTING UTILITY TIE IN DIAGRAM

REV 0

#### Electrical

18210-DWG-E-0101,	:	KEY SINGLE LINE DIAGRAM

REV. 0

18210-DWG-E-4101,	:	20.28MW SWITCHGEAR-CUM-CONTROL

Rev. 0		BUILDING EXTENSION ELECTRICAL

EQUIPMENT LAYOUT

#### Instrumentation & Control

18210-DWG-I-0001	:	CONTROL SYSTEM OVERVIEW

REV. 0

#### Civil & Structural

18210-DWG-S-0001,	:	STRUCTURAL  STEEL  WORKS – NOTES  AND

REV.0		STANDARD DETAILS

18210-DWG-S-0002,	:	STRUCTURAL STEEL WORKS – STANDARD

REV.0		DETAILS

18210-DWG-S-0003,	:	RCC WORKS – NOTES AND STANDARD DETAILS

REV. 0

18210-DWG-S-0004,	:	RCC WORKS – STANDARD DETAILS

REV. 0

#### Architectural

18210-DWG-A-0001	:	ARCHITECTURAL STANDARD DETAILS

to A -0006

Existing Plant Drawings

- Plan and Section of Switchgear and Control Building of 20.28 MW GTG

1-381-21-02297, Rev-5

1-381-21-02388, Rev-5

- P&ID  for Fire Water Pump House – NFE/WBS/1254/D001 R-4

- Layout of Hydrant System - NFE/WBS/1254/D014 R-8

TABLE OF CONTENTS

PART-3 Section -II	:	TECHNICAL SPECIFICATIONS (SCC)

Book 5		:	PROPOSAL EXHIBIT SHEETS

- :	KEY INFORMATION

- :	GUARANTEED PARAMETERS (REFER FORM A PART-2)

- :	TECHNICAL PARTICULARS

- :	LIST OF MAJOR EQUIPMENT MANUFACTURERS

- :	NOT USED

- :	NOT USED

- :	SPECIAL TOOLS AND TACKLE

- :	NOT USED

- :	NOT USED

- :	DRAWING SUBMISSION SCHEDULE

- :	DELIVERY AND COMMISSIONING SCHEDULE

- :	EXPERIENCE LIST (REFER FORM 1, BOOK 6)

- :	DECLARATION SHEET

PART-3 Section -II	:	TECHNICAL SPECIFICATIONS (SCC)

Book 6		:	FORMS

##### PART-3

##### SECTION-II

TECHNICAL SPECIFICATIONS

##### PART-3

SECTION-II

GENERAL AND MECHANICAL

(BOOK 1 OF 6)

##### PART-3

SECTION-II

ELECTRICAL AND

INSTRUMENTATION & CONTROL

(BOOK 2 OF 6)

##### PART-3

SECTION-II

CIVIL , STRUCTURAL                                      AND ARCHITECTURAL

(BOOK 3 OF 6)

##### PART-3

SECTION-II

DRAWINGS

(BOOK 4 OF 6)

##### PART-3

SECTION-II

PROPOSAL EXHIBIT SHEETS

(BOOK 5 OF 6)

##### PART-3

SECTION-II

FORMS

( BOOK 6 OF 6)