# SCHEDULE-I

KEY INFORMATION

| 1.00 | Name of bidder, postal address, Fax No, E-mail address,Telephone no. |  |  |
| --- | --- | --- | --- |
| 2.00 | Responsible officer of the bidder and his designation for ease of communication |  |  |
| 3.00 | Heaviest package to be transported |  |  |
|  | a) Weight in tonne |  |  |
|  | b) Dimensions in metre |  |  |
|  | (length x width x height) |  |  |
| 4.00 | Largest package to be transported |  |  |
|  | a) Weight in tones |  |  |
|  | b) Dimensions in metre |  |  |
|  | (length x width x height) |  |  |

# SCHEDULE-II

# GUARANTEED PARAMETERS

(TO BE FILLED IN BY THE BIDDER)

|  | Bidder shall fill up the guaranteed parameters as per Form-A included in Part-2 (Bid Evaluation Criteria) of the Bid document. |  |  |
| --- | --- | --- | --- |

# SCHEDULE-III

# TECHNICAL PARTICULARS

Bidder shall fill up the Technical particulars of the equipment / component as applicable as per OEM standard design

A. MECHANICAL

- Gas Engine

    - Type/Model

    - 2 stroke or 4 stroke?

    - Manufacturer

    - Design Standard

    - Performance Standard

    - Working Principle

    - Configuration (Cylinder Arrangement)

    - No of Cylinders

    - Bore

    - Piston Stroke

    - Each Piston Displacement (Swept Volume)

    - Engine Displacement:

    - Compression Ratio

    - Indicated Mean effective pressure

    - Brake Mean Effective Pressure

    - No. of inlet valves

    - No. of outlet valves

    - Engine Speed

    - Mean Piston Speed

    - Ramp rate

    - Direction of Rotation (Faced towards flywheel)

    - Length x breadth x height (GEG set)

    - Weight (Dry)

    - Platform provided connecting three GEG units

    - Details of acoustic enclosure for noise attenuation

    - Maintenance and overhauling at site possible	Yes/No

    - Alternator rotor withdrawal methodology

    - List of Essential dependent auxiliaries

    - List of Independent Auxiliaries

    - Performance data:

- Rated Engine Power at Standard operating conditions as per ISO 3046/ BS 5514 (ISO Std. Power): ( Using only the essential dependent Auxiliaries)

- Rated engine Power at Site conditions (Service Std. Power):  (Using only the essential dependent Auxiliaries)

- Min. Engine site power at which Engine can be Operated Continuously.

- Min. Engine Speed & corresponding site Power at which Engine can be Operated Continuously

- Starting time required for full load operation (Seconds)

- ISO Standard Reference Conditions (Barometric pressure, temperature, Relative Humidity)

- Specific Fuel Consumption at reference Conditions (gm/kwhr or SCM/kwhr)

- At guaranteed engine rated power (100% load)

- At 75% load

- At 50% load

- ISO Standard Reference Conditions (Barometric pressure, temperature, Relative Humidity)

- Mechanical Output of the engine

- Electrical Output (considering generator efficiency)

- Heat Rate (Kcal/Kwh)

- Specific Lube Oil consumption (g/kwh)

- Tolerance

- Efficiency

- Auxiliary Power Consumption

- Net Exportable Output at 40 deg C, 50% RH and firing Average Gas

- Gross Power output at site condition (40 deg C, 50% RH), MW

- Minimum continuous running load and its duration

- Using gas as per Average gas analysis

- Using gas as per rich gas analysis

- Using gas as per lean gas analysis

- Maximum Block Step Loading capacity of the engine generator

- With Base Load of 25%, 20% of its rated capacity, what is the largest Block Load acceptance

- Performance Class G1/G2/G3/G4 with Base Loads mentioned above

- Combustion Air System

    - Type of Intake Air Filter and Silencer

    - Naturally aspirated or turbo charged?

    - Type of Turbo Charger

    - Nos. of Intercoolers ( HP and LP)

    - Turbo Charger bypass provided

    - After cooling pump for turbocharger if any

    - Charge Air Cooler provided?

    - Charge Air Coolant temperature

    - Air Flow Required for Operation of the Engine for:

- Combustion & Scavenging

- Cooling & Ventilation

- Ignition system

    - Type of ignition system

    - Combustion Air flow rate

    - Type of cylinder pressure monitoring system

    - Fuel Gas pressure required at combustor inlet each stage, kg/cm²

    - Air/Fuel ratio at each cylinder

- Turning Gear(if applicable)

- Type

- The speed at which the turning gear cuts in/out, rpm

- Motor rating, kW

- Provision of manual turning	YES / NO

- Barring speed, rpm

- Materials of construction

      - Cylinder head

      - Piston

      - Liners

      - Connecting rod

      - Crank Shaft

      - Crank case

      - Flywheel

      - Engine base frame

      - Turbo Charger

      - Inlet duct/manifold

      - Exhaust duct/manifold

      - Exhaust Stack

      - Lube oil piping

      - CW piping

      - Air piping

- Bearings

    - Locations

    - Type

    - Number

    - Normal operating temperature, °C

    - Maximum temperature permitted, °C

    - Minimum pressure at which lube oil is required, kg/cm²

    - Bearing Vibration pickups for alarm & Trip

- Gear Box ( if applicable)

- Design Standard

- Service Factor

- Speed Reduction Ratio

- Material of construction

- Type of Bearings

- Flexible Coupling

- Type

- Material of construction

- Vibration Dampener

- Type

- Location

- Starting System

    - Type

    - Nos.  & type of Air compressor

    - Capacity and pressure of Air compressor

    - Nos.  & type of Air Drier

    - Capacity and pressure of Air Drier

    - Nos. & capacity of Air Receivers

    - No of consecutive starts possible

    - Time from cold start to synchronizing, min

    - Total time to rated load of GEG, min

    - Starting system common for three GEG or unitized?

    - Location of Engine starting module

    - Method of starting (manual/automatic)

    - Method of stopping manual/automatic)

    - Type of Cold starting Aid

- Fuel Gas Module

- Nos.  per GEG

- Capacity

- Gas pressure range ( max/min)

- Gas temperature range ( max/min)

- Type & actuation of safety shut off valve

- Type flow control valve

- Type of flow meter

- Fineness of filter

- Fuel gas admission valve for each cylinder provided?

- Fuel gas control valve for each cylinder provided?

- Governing System

      - Type of governing system for engine (single/multi/variable speed)

      - Accuracy / Performance class

      - Governor type (Electronic/ Electrohydraulic/Mechanical)

      - Governor Control mechanism (Manual / Remote / Auto)

      - Speed sensing element type and sensitivity

      - Constant speed governor (suitable for 50 Hz)

      - Steady state speed regulation, %

      - Range of adjustment for regulation, %

      - Steady state incremental regulation

      - Dead band in % of rated speed, %

      - Temporary speed variation when full load is thrown off, %

      - Permanent speed variation when full load is thrown off, %

      - Time taken to reach steady state, sec

      - % Drop of speed Governor

    - Speed control provided

      - Local

      - Remote

    - Load limit device

      - Type

      - Range of adjustment

      - Remote and/or local operated

- Lubricating oil system

    - General

      - Recommended type of lube oil and specification of oil as per Indian grade

      - Type of Lube oil system for engine

      - Type of lube oil system for Alternator if applicable

      - Normal oil pressure to Engine bearings, kg/cm²

      - Normal oil pressure to Alternator bearings, kg/cm²

      - Filling capacity of lube oil(Refill)

      - Lube Oil consumption (Kg/hour)

    - Main Lubricating oil pump 	Engine	Alternator( if any)

      - Nos.

      - Type of pump

      - Type of drive

      - Capacity, m³/hr

      - Discharge pressure, kg/cm²

      - Pump speed, rpm

    - Engine Oil Sump

  - Capacity

  - Provided with oil vapour extractors?

    - Lube oil Tank                     Engine mounted          Drain oil Tank

      - Nos.

      - Capacity

      - Size ( Dia X Height)

      - Location

      - Common for three GEG units

    - Lube oil unloading pump

•	Nos.

•	Type of pump

•	Type of drive

•	Capacity, m³/hr

    - Portable Engine sump Oil filling pump  (if applicable)

  - Nos.

•	Type of pump

•	Type of drive

•	Capacity, m³/hr

    - Portable Engine sump Oil draining pump(if applicable)

•	Nos.

•	Type of pump

•	Type of drive

•	Capacity, m³/hr

    - Pre lubrication  System

      - Pump

  - Nos.

•	Type of pump

•	Type of drive

•	Capacity, m³/hr

    - Manual Pre lubrication arrangement provided?

    - Lube oil cooler

      - Type

      - Number

      - Redundancy

      - Heat transfer area, m²

      - Inlet & outlet water temperature, °C

      - Tube material

    - Lube oil filter

      - Type

      - Number

      - Redundancy

      - Fineness

- Control Oil system ( if applicable)

    - Whether integral with lube oil system or independent

    - Type of control Fluid used (Fire resistant etc.)

    - No. of control fluid pumps and redundancy

    - No. of control fluid coolers and redundancy

- Engine Cooling System

- Type

- Primary Cooling circuit medium

- Secondary cooling circuit medium

- CW pumps                      Primary Circuit(HT)     Secondary Circuit (LT)

•  Nos.

•  Type of pump

•  Type of drive

•  Capacity, m³/hr

  - Redundancy

- Heat Exchanger / Cooler               Jacket Water 		Charge Air

•  Nos.

•  Type

•  Degree of cooling, Deg C

•  Capacity, m³/hr

  - Redundancy

- Filter / Strainer                     Primary Circuit		Secondary Circuit

•  Nos.

•  Type

•  Fineness

•  Capacity, m³/hr

  - Redundancy

- Radiator

•  No of fans per radiator per GEG

•  kW rating of each fan motor

•  Type

•  Design Standard

•  Capacity, m³/hr

  - Cooling Duty

  - Redundancy

- Expansion Tank

- Nos. per GEG

•  Capacity, m³

- Jacket water Pre Heater

- Type

- Nos

- Exhaust System

- Duct cross section & Size

- Design Flow, TPH

- Velocity, M/sec

- Material of Construction

- Thickness, mm

- Details of Silencer

- Details of Expansion Joint & Material of Construction

- Height of Stack, Meter

- Dia & Material of Stack

- Type of thermal Insulation provided in Stack and Exhaust Duct

- Material of Cladding

- Details of Integrated structure combining three GEG stack

- Engine Hall Ventilation System

      - Details of the system offered

      - Temperature to be maintained in Engine Hall

      - Nos. & type of Supply air Fan Filter unit

      - Location of Supply air Fan Filter unit

      - Arrangement for discharge of hot ventilated air from engine hall

      - Arrangement for intake of generator cooling air from outside

      - Arrangement for discharge of hot generator cooling air outside engine hall

- Layout Data

    - Dimension of complete gas engine generator unit (length x width x height), m

- Weight Data

a.	Total weight of gas engine and generator, tonnes

    - Weight of heaviest single piece of equipment during erection of GEG, tonnes

    - Weight of heaviest single piece of equipment during maintenance of GEG, tonnes

- Engine Maintenance Data

a.	Engine Maintenance Schedule for 25 Years Service Life including all major and minor overhauls from each GEG Unit Commissioning submitted?

b.	Expected period of running between top overhauls (hours)

c.	Expected period of running between main overhauls (hours)

d.	Change lube Oil after (hours)

e.	Whether the OEM is open to maintenance by customer/owner (i) when warrantee/guarantee period is in force

(ii) post warrantee/guarantee period

- GAS CONDITIONING CUM FILTRATION SYSTEM

  - Gas pipe line from terminal point

    - O.D. and thickness of pipe, mm

    - Material of pipe

    - No. of block valves

    - Required Gas pressure and temperature at OIL’s tap off point

  - Knock out drum ( 2 x 100% capacity)

    - Type and make

    - No. provided

    - Number operating during full load operation

    - Pressure drop during full flow, kg/cm²

    - Max design pressure, kg/cm²

    - Max allowable solid content at separator outlet

    - Design Standard

  - Filter separators (2x100% capacity)

    - Type & make

    - No. provided

    - Design Standard

    - Size and mesh of strainer

    - Pressure drop during full flow

    - Max allowable solid content at filter outlet

    - Material of Construction

    - Design Standard

  - Gas Heater

Details of the gas heater if provided

  - Pressure Control valve (2x100%)

    - Number

    - Size, mm

    - Type

    - Pressure drop

    - Materials of construction

      - Body

      - Seat

      - Plug

      - Stem

    - Control Range

    - Total Pressure drop across Fuel Gas conditioning system when all GEG in operation are operating at full load

- PUMPS (fill up for each type & size of pumps as applicable)

  - General

    - Manufacturer

    - Type of pumps

  - Performance Data

    - Rated capacity, m³/hr

    - Total dynamic head, mWC

    - Shut-off head, mWC

    - Pump efficiency at duty point, %

    - Rated speed (RPM)

    - Specific speed (Metric units)

    - Type of stuffing box

    - Type of coupling between pump and drive

  - Material of Construction

    - Pump casing

    - Impeller

    - Discharge flange

    - Base plate

  - Motors

    - Make and Type

    - Motor rating, kW

    - Guaranteed input to motor with pump operating at duty point without any tolerance, kW

    - Type of enclosure

    - Class of insulation

- AIR COMPRESSOR

  - General Information

    - Make

    - Total nos. required

    - Total nos. working

    - Type

    - Duty and Control

    - Discharge Pressure

    - Capacity

    - Motor Rating

    - Design Standard

    - Material of Construction of major components

  - Air Receiver

    - Type

    - Capacity

    - Qty required

    - Working pressure, Kg/cm2

    - Design Pressure, Kg/cm2

    - Design Standard

  - Air Drying Plant

    - Type & Make

    - Duty

    - Qty required

    - Location

    - Air flow rate

    - Dew point

    - Drying cycle period

  - Details of the 	Control system offered

- EOT CRANES (fill up for each type and size of EOT crane)

  - General

    - Location

    - Make

    - Type and class of crane

    - Span, m

    - Total travel, m

  - Performance Data

    - Guaranteed lifting capacity of the main hook, tonnes

    - Load testing, tonnes

    - Guaranteed lifting capacity of the auxiliary hook, tonnes

    - Load testing, tonnes

    - Guaranteed max. lift of main hook, m

    - Guaranteed max. lift of aux hook, m

  - Max. speed at full load

    - Main hoist, mpm

    - Auxiliary hoist, mpm

    - Trolley cross travel, mpm

    - Bridge travel, mpm

  - Wire Rope

    - Type of rope provided

    - Factor of safety

  - Motor rating and speed for

    - Main hoist, kW/rpm

    - Auxiliary hoist, kW/rpm

    - Long Travel, kW/rpm

    - Cross Travel, kW/rpm

- HOIST(fill up for each type and size of Hoist)

  - General

    - Manufacturer

    - Location

    - Numbers

  - Hoist confirm to IS

  - Hoist Capacity, tones

  - Test load, tonnes

  - Monorail size

  - Lift of Hoist, m

- AIR COOLED SPLIT AC

    - Type

    - Make

    - Quantity Offered

    - Area/Building covered

    - Location

    - Capacity, TR

    - Power Consumption, kW

    - Noise level at 1m from the equipment

    - Vibration level

    - Heat Load calculation to be furnished

- VENTILATION

    - Type

    - Make

    - Area/Building Covered

    - Location

    - Quantity Offered

    - Capacity of Fan Filter/Roof extraction/ Exhaust Fan as applicable.

- FIRE PROTECTION SYSTEM

a. Write up on proposed extension / augmentation of Fire Hydrant / water spray system furnished?

b. Write up on Fire Alarm & Detection system 	furnished?

- NITROGEN GAS PURGING SYSTEM

Details of the system offered

- PIPING

a. Confirm all piping, valves and specialities are as per Specification.

b. Furnish material of construction for Pipes, Valves and Fittings

B. ELECTRICAL

1.1	SYNCHRONOUS GENERATOR

| 1.0 Make |  | : |  |
| --- | --- | --- | --- |
| 2.0 Rated Output | MW | : |  |
| 3.0 Rated Power Factor |  | : |  |
| 4.0 Rated Speed | r.p.m. | : |  |
| 5.0 Generation Voltage | KV | : |  |
| 6.0 Rated Frequency | HZ | : |  |
| 7.0 Short circuit ratio |  | : |  |
| 8.0 Efficiency at rated p.f. & 100% load |  | : |  |
| 9.0 Class of Insulation |  | : |  |
| 10.0 Direct Axis Reactances (Saturated/Unsaturated) |  |  |  |
| a) Synchronous- | Xd % | : |  |
| b) Transient | Xd' % | : |  |
| c) Sub-Transient | Xd"% | : |  |
| 11.0 Armature Short circuit time constant, Ta | Sec. | : |  |
| 12.0 Type of Cooling |  | : |  |
| 13.0 No. X Capacity of cooler sections |  | : |  |
| 14.0 Maximum continuous gene-rator capability under one cooler section out of operation | MVA | : |  |
| 15.0 Type of Excitation |  | : |  |
| 16.0 Nominal Exciter response ratio |  |  |  |
| a) With generator at no load | sec-1 | : |  |
| b) With generator at rated load | sec-1 | : |  |
| 17.0 Excitation System voltage response time | sec-1 | : |  |

1.2	POWER (GENERATOR) TRANSFORMERS

| 1.0 Make |  | : |  |
| --- | --- | --- | --- |
| 2.0 Rated output | MVA | : |  |
| 3.0 Voltage Ratio |  | : |  |
| 4.0 Rated frequency | Hz | : |  |
| 5.0 Vector Group reference |  | : |  |
| 6.0 Number of phase |  | : |  |
| 7.0 Percentage impedance at principal tap |  | : |  |
| 8.0 Temperature rise over reference site ambient temperature |  |  |  |
| a) In winding by resistance | Deg.C | : |  |
| b) On enclosure by thermo-meter | Deg.C | : |  |
| 9.0 Class of insulation |  | : |  |
| 10.0 Rated voltage |  |  |  |
| a. H.V. | KV | : |  |
| b. L.V. | KV | : |  |
| 11.0 Rated current |  |  |  |
| a. H.V. | Amp | : |  |
| b. L.V. | Amp | : |  |
| 12.0 Performance |  |  |  |
| 12.1 Guaranteed loss at 100% rated voltage and rated frequency | KW | : |  |
| 12.2 No load loss | KW | : |  |
| 12.3 Copper loss at full load at 75oC | KW | : |  |
| 12.4 Efficiency at 75oC at unity power factor |  | : |  |
| a. at full load | % | : |  |
| b. at 3/4th load | % | : |  |
| c. at 1/2th load | % | : |  |
| 12.5 Efficiency at 75 deg.C and 0.8 p.f lag and full load |  | : |  |
| 13.0 Type of cooling |  | : |  |
| 14.0 Type of Tap changer |  | : |  |
| 14.1 Range of tappings variation - steps x | % | : |  |

1.3	GENERATOR PHASE & NEUTRAL SIDE CUBICLE

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Voltage (Nom./Max.) | KV | : |  |
| 5. Phase, Frequency | No, Hz | : |  |

| 6. Short Circuit Rating |  |  |  |
| --- | --- | --- | --- |
| a. Interrupting Symmetrical | MVA | : |  |
| b. Short-time for 3 sec. | KA rms | : |  |
| 7. Insulation Level |  |  |  |
| a. Impulse Withstand | KVp | : |  |
| b. 1-min. 50 Hz. Voltage Withstand | KV rms | : |  |
| 8. Metal-clad construction | Yes/No | : |  |
| 9. Degree of Protection |  | : |  |
| 10. Minimum thickness of sheet metal used | mm | : |  |
| 11. Cubicles completely assem-bled, wired and tested at factory | Yes/No | : |  |

1.3.1	Construction

| 1. Phase side cubicle |  |  |  |
| --- | --- | --- | --- |
| a) Minimum clear space required at Front for VT withdrawal | mm | : |  |
| b) Minimum clear space required at Rear | mm | : |  |
| c) Enclosure material |  | : |  |
| d) Overall dimension (LxDxH) | mm | : |  |
| e) Weight | Kg | : |  |
| 2. Neutral Side Cubicle |  |  |  |
| a) Enclosure material |  | : |  |
| b) Minimum clear space required around | mm | : |  |
| c) Dimensions of enclosure (LxDxH) | mm | : |  |
| d) Weight of each phase enclosure | Kg | : |  |

1.3.2	Bus Bar

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Material & Grade |  | : |  |
| 3. Reference, Standard |  | : |  |
| 4. Cross sectional Area | mm2 | : |  |
| Size | mm | : |  |
| 5. Continuous Current (at condition of site ambient & within cubicle) |  | : |  |
| 6. Maximum temperature rise over site ambient | C | : |  |
| 7. Short-time current for 3 sec. | KA rms | : |  |
| 8. DC resistance at 85C | Ohm/m/ph | : |  |
| 9. Skin-effect ratio |  | : |  |
| 10. Reactance | Ohm/m/ph | : |  |
| 11. Losses-middle phase | W/m/ph | : |  |
| 12. Minimum clearance of bare bus bar and connection |  |  |  |
| a) Phase to phase | mm | : |  |
| b) Phase to ground | mm | : |  |
| 13. Bus bar provided with |  |  |  |
| a) Insulating sleeve |  | : |  |
| b) Phase barriers |  | : |  |
| c) Cast resin shrouds for joint |  | : |  |
| 14. Bus Connections |  |  |  |
| a) Silver plated |  | : |  |
| b) Made with antioxide grease |  | : |  |
| 15. Bus bar support spacing | mm | : |  |
| 16. Bus Support Insulator |  |  |  |
| a) Make |  | : |  |
| b) Type |  | : |  |
| c) Reference Standard |  | : |  |
| d) Voltage Class | KV | : |  |
| e) Min. creepage distance | mm | : |  |
| f) Cantilever strength | Kg/cm2 | : |  |
| g) Net weight | Kg | : |  |

1.3.3	Current Transformer

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Voltage Class |  | : |  |
| 5. Rated frequency |  | : |  |
| 6. Type of Insulation |  | : |  |
| 7. Temperature rise at rated current over site ambient |  | : |  |
| 8. Short Time Rating |  |  | Symm. KA Momen- for 3 Sec tary KA Peak |
| a) CTs |  | : |  |

1.3.4	C.T. Ratings

| C.T. Type | Description | Current Ratio A/A | Output VA | Class | ISF | Knee Point Voltage Volt * | Excitation Current mA ** | Secondary Resistance Ohm + ** |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Neutral Side

A.	Overall Differential

B.	Gen. Relaying

C.	Gen. Relaying

D.	Gen. Differential

Add more space if required

Line Side

A.	Gen. Differential

B.	AVR

C.	Gen. Relaying

D.	Gen. Metering

Add more space if required

NG TRF Secondary

A.	Back-up Over current

Add more space if required

*	Not less than

**	Not more than

+	Secondary Resistance at maximum operating temperature

1.3.5	Voltage Transformer

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Voltage Class | KV | : |  |
| 5. Basic Impulse Level | KV Peak | : |  |
| 6. Type of Insulation |  | : |  |
| 7. Maximum temperature rise over site ambient | Deg.C | : |  |
| 8. Rated Frequency | Hz | : |  |
| 9. Over Voltage Factor |  | : |  |
| a) Continuous |  | : |  |
| b) 30-Seconds |  | : |  |
| 10. No. of secondary windings per voltage transformer |  | : |  |
| 11. Winding Connections |  | : |  |
| a) Primary |  | : |  |
| b) Secondary |  | : |  |
| c) Tertiary |  | : |  |
| 12. V.T. Ratings |  | : |  |
| a) Primary Voltage | KV | : |  |
| b) Secondary Voltage | Volt | : |  |
| c) Tertiary voltage | Volt | : |  |
| d) Rated Output |  |  |  |
| i) Secondary | VA | : |  |
| ii) Tertiary | VA | : |  |
| e) Accuracy Class |  |  |  |
| i) Secondary |  | : |  |
| ii) Tertiary |  | : |  |
| 13. V.T. Fuses |  |  |  |
| a) Continuous Current | Amp |  |  |
| H.V. |  | : |  |
| L.V. |  | : |  |
| b) Short Circuit Rating | KA Symm |  |  |
| H.V. |  | : |  |
| L.V. |  | : |  |
| c) Rated Voltage | Volt | : |  |
| H.V. |  | : |  |
| L.V. |  | : |  |

1.3.6	Lightning Arrester

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. L.A. Rating |  |  |  |
| a) Rated voltage | KV | : |  |
| b) Nominal discharge current | KA | : |  |
| c) Discharge Class |  | : |  |
| 5. Insulation Level |  |  |  |
| a) 1-min, 50 Hz withstand |  |  |  |
| i) Dry | KV r.m.s. | : |  |
| ii) Wet | KV r.m.s. | : |  |
| b) Impulse withstand | KV peak | : |  |
| 6. Spark Over Voltage |  |  |  |
| a) Minimum 50 Hz | KV peak | : |  |
| b) Max. 1.2/50 micro-sec. | KV peak | : |  |
| c) Maximum front-of-wave | KV peak | : |  |
| d) Maximum switching | KV peak | : |  |
| 7. Maximum Residual Voltage at 8/20 micro-sec. Current Wave |  |  |  |
| a) 10 KA | KV peak | : |  |
| b) 20 KA | KV peak |  |  |
| c) 40 KA | KV peak | : |  |
| d) 100 KA | KV peak | : |  |
| 8. Impulse Current Withstand |  |  |  |
| a) High current 4/10 micro-sec. | KA peak | : |  |
| b) Long duration current for |  |  |  |
| i) 1000 Micro-sec | KA peak | : |  |
| ii) 2000 Micro-sec | KA peak | : |  |
| 9. Porcelain creepage distance | KV/ mm | : |  |
| 10. No. of section per pole | No. | : |  |
| 11. Approx. dimension (LxDxH) | mm | : |  |
| 12. Approx. weight | Kg | : |  |
| 13. Catalogue furnished | Yes/No | : |  |
| 14. Characteristic curve furnished | Yes/No | : |  |

1.3.7	Surge Capacitor

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Service |  | : |  |
| 3. Type & Catalogue No. |  | : |  |
| 4. Reference Standard |  | : |  |
| 5. Rated Voltage | KV | : |  |
| 6. Rated frequency | Hz | : |  |
| 7. Rating |  |  |  |
| a) Capacity in micro farad/ pole |  | : |  |
| b) Guaranteed tolerance |  | : |  |
| 8. Insulation Class |  | : |  |
| 9. Test voltage between terminals |  |  |  |
| a) A.C. for 1 minute | KV | : |  |
| b) D.C. - 10 seconds | KV | : |  |
| 10. Dimensions | mm | : |  |
| 11. Weight | Kg | : |  |
| 12. Bushings |  |  |  |
| a) 1 min. dry withstand test | KV | : |  |
| b) 10 sec. wet with-stand test | KV | : |  |
| c) Basic impulse withstand | KVP | : |  |
| 13. Catalogue furnished | Yes/No | : |  |
| 14. Discharge resistor furnished | Yes/No | : |  |

1.3.8	Neutral Grounding Transformer

| Make |  | : |  |
| --- | --- | --- | --- |
| Type & Catalogue No. |  | : |  |
| Reference Standard |  | : |  |
| Basic Impulse Level | KV peak | : |  |
| Class of Insulation |  | : |  |
| Maximum temperature rise over site ambient | Deg.C | : |  |
| Transformer Ratings |  | : |  |
| a) Output | KVA | : |  |
| b) Primary Voltage | KV | : |  |
| c) Secondary Voltage | Volt | : |  |
| d) Phase | No. | : |  |
| e) Frequency | Hz | : |  |
| f) Duty Cycle (Time rating) | Hr | : |  |

Loading Resistor

Make 		:

Type & Catalogue No.		:

Reference Standard		:

Resistor Ratings		:

a)	Resistance	Ohm	:

b)	Current 	Amp	:

c)	Voltage	Volt 	:

d)	Time rating	Hr	:

Material 		:

Maximum  temperature rise

over 50 Deg.C ambient	Deg.C	:

1.3.9	Neutral grounding Reactor

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type & Catalogue No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Reactor Ratings |  | : |  |
| a) Reactance | Ohm | : |  |
| b) Current | Amp | : |  |
| c) Voltage | Volt |  |  |
| d) Time rating | Hr | : |  |
| 5. Material |  | : |  |
| 6. Maximum temperature rise over site ambient | Deg.C | : |  |

1.3.10	Secondary Wiring

| 1. Type and Insulation |  | : |  |
| --- | --- | --- | --- |
| 2. Voltage grade |  | : |  |
| 3. Conductor material |  | : |  |
| 4. Conductor size (minimum) |  |  |  |
| a) Potential circuit |  | : |  |
| b) Control & current circuit |  | : |  |
| 5. Wires identified at both ends with markers |  | : |  |

1.3.11	Terminal Block

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Cat. No. |  | : |  |
| 4. 20% spare terminals furnished | Yes/No | : |  |

1.3.12	Cable Termination

| 1. Cable Lugs |  |  |  |
| --- | --- | --- | --- |
| a) Type |  | : |  |
| b) Material |  | : |  |
| 2. Cable Gland |  |  |  |
| a) Type |  | : |  |
| b) Material |  | : |  |
| c) With tappered washer |  | : |  |
| d) With armour clamp |  | : |  |
| 3. Removable Gland Plate |  |  |  |
| a) Material |  | : |  |
| b) Thickness of the plate |  | : |  |

1.3.13	Busduct Connection

| 1. Busduct connection for |  |  |  |
| --- | --- | --- | --- |
| a) Top entry | Yes/No | : |  |
| b) Side entry | Yes/No | : |  |

1.3.14	Ground Bus

| 1. Ground bus furnished |  | : |  |
| --- | --- | --- | --- |
| 2. Material |  | : |  |
| 3. Size |  | : |  |
| 4. No. of ground pads provided |  |  |  |

1.3.15	Name Plate

| 1. Material |  | : |  |
| --- | --- | --- | --- |
| 2. Thickness |  | : |  |
| 3. Size for |  |  |  |
| a) Panel | mm | : |  |
| b) Equipment/devices | mm | : |  |

1.3.16	Space Heater/Plug Socket

| 1. Cubicle Heater |  |  |  |
| --- | --- | --- | --- |
| a) Thermostat controlled | Yes/No | : |  |
| b) Wattage |  | : |  |
| c) Voltage |  | : |  |
| 2. Plug Socket |  |  |  |
| a) Type |  | : |  |
| b) Rating |  | : |  |
| 3. Cubicle heater & plug socket circuit provided with individual switch fuse unit |  |  |  |

1.3.17	A.C./D.C. Supply

| 1. Isolating switch fuse unit for incoming supply |  |  |  |
| --- | --- | --- | --- |
| a) A.C. | type & rating | : |  |
| b) D.C. | type & rating | : |  |
| 2. Isolating switch fuse unit at each cubicle |  |  |  |
| a) A.C. supply | type & rating | : |  |
| b) D.C. supply | type & rating | : |  |

1.3.18	Tropical Protection

| 1. a) Any special treatment for tropical protection | Yes/No | : |  |
| --- | --- | --- | --- |
| b) Screens are of corrosion resistant materials | Yes/No | : |  |

1.3.19	Painting

| 1. Finish of Cubicle |  |  |  |
| --- | --- | --- | --- |
| a) Inside |  | : |  |
| b) Outside |  | : |  |

1.4	BUS DUCT

11kV 		415V Non-

Segregated	Segregated

Phase 	Phase

Bus Duct	Bus Duct

| 1. Make |  |  |  |  | : |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 2. Type |  |  |  |  | : |  |  |
| 3. Reference Standard |  |  |  |  | : |  |  |
| 4. Rated Voltage |  |  | KV |  | : |  |  |
| 5. Phase |  |  | Nos. |  | : |  |  |
| 6. Frequency |  |  | Hz |  | : |  |  |
| 7. Insulation Level |  |  |  |  | : |  |  |
| a) 1 min. Hipot |  |  | KV rms |  | : |  |  |
| b) Basic Impulse |  |  | KV peak |  | : |  |  |
| 8. Rated Continuous Current |  |  |  |  |  |  |  |
| Main Run for GEG Unit |  |  | Amp |  | : |  |  |
| 9. Maximum Temperature Rise over site ambient |  |  |  |  |  |  |  |
| a) Bus Conductor |  |  | Deg.C |  | : |  |  |
| b) Bus Enclosure |  |  | Deg.C |  | : |  |  |
| 10. Guaranteed Calculated Losses per set of Bus Duct without any positive tolerance |  |  |  |  |  |  |  |
| a) Conductor |  |  | KW |  | : |  |  |
| b) Enclosure |  |  | KW |  | : |  |  |
| c) Total |  |  | KW |  | : |  |  |
| 11. Rated Short Time Current |  |  |  |  |  |  | Symm. KA Momen- for 3 Sec tary KA Peak |
| Main Run |  |  |  |  | : |  |  |
| 12. Weight per metre run of Bus Duct |  | Kg |  |  | : |  |  |
| 13. Shipping Data |  |  |  |  |  |  |  |
| a) Weight of heaviest package |  | Kg |  |  | : |  |  |
| b) Dimension of largest package (L x D x H) |  | mm |  |  | : |  |  |
| 14. Material |  |  |  |  |  |  |  |
| a) Conductor |  |  |  |  | : |  |  |
| b) Enclosure |  |  |  |  | : |  |  |
| 15. Conductivity |  |  |  |  |  |  |  |
| a) Conductor |  |  |  |  | : |  |  |
| b) Enclosure |  |  |  |  | : |  |  |
| 16. Conductor Shape |  |  |  |  |  |  |  |
| Main Run |  |  |  |  | : |  |  |
| 17. Conductor Size |  |  |  |  |  |  |  |
| Main Run | sq. mm |  |  | : |  |  |  |
| 18. Enclosure Data |  |  |  |  |  | Overall Thick- Dimensions ness mm mm |  |
| a) Main Duct |  |  |  | : |  |  |  |
| 19. Inter-phase Barrier Plate |  |  |  |  |  |  |  |
| a) Material |  |  |  | : |  |  |  |
| b) Thickness | mm |  |  | : |  |  |  |
| 20. D.C. Resistance at 20 Deg.C in micro Ohm/metre/phase |  |  |  |  |  | Conductor Enclosure |  |
| Main Run for STG Unit |  |  |  | : |  |  |  |
| 21. Skin-effect Ratio |  |  |  |  |  |  |  |
| Main Run |  |  |  | : |  |  |  |
| 22. 50 Cycle Reactance in Ohm/metre/phase |  |  |  |  |  |  |  |
| Main Run |  |  |  | : |  |  |  |
| 23. 3 phase Capacitance to Ground in Microfarad/ metre/ phase |  |  |  |  |  |  |  |
| Main Run |  |  |  | : |  |  |  |
| 24. Losses in Watt/metre/phase |  |  |  |  |  | Conductor Enclosure |  |
| Main Run |  |  |  | : |  |  |  |
| 25. Enclosure Finish |  |  |  | : |  |  |  |
| Outside |  |  |  | : |  |  |  |
| Inside |  |  |  | : |  |  |  |
| 26. Phase to earth clearance provided | mm |  |  | : |  |  |  |
| 27. Bus Insulator |  |  |  |  |  |  |  |
| a) Make |  |  |  | : |  |  |  |
| b) Type |  |  |  | : |  |  |  |
| c) Reference Standard |  |  |  | : |  |  |  |
| d) Number per support |  |  |  | : |  |  |  |
| e) Voltage class | KV |  |  | : |  |  |  |
| f) Creepage distance | mm |  |  | : |  |  |  |
| g) Compression strength | Kg |  |  | : |  |  |  |
| h) Cantilever strength | Kg |  |  | : |  |  |  |
| 28. Supporting Steel Structure |  |  |  |  |  |  |  |
| a) Hot-dip galvanised | Yes/No |  |  | : |  |  |  |
| b) Quantity | MT |  |  | : |  |  |  |
| 29. Grounding |  |  |  |  |  |  |  |
| a) Material & size of ground bus if provided separately |  |  |  | : |  |  |  |
| b) Number of ground pads provided for plant grounding. |  |  |  | : |  |  |  |
| 30. Switchgear Terminal Adopter Box |  |  |  |  |  |  |  |
| a) Material of enclosure |  |  |  | : |  |  |  |
| b) Thickness of enclosure | mm |  |  | : |  |  |  |
| c) Material of Inter-phase barrier |  |  |  | : |  |  |  |
| d) Thickness of inter-phase barrier | mm |  |  | : |  |  |  |
| 31. Seal-off Bushings |  |  |  |  |  |  |  |
| a) Make |  |  |  | : |  |  |  |
| b) Type |  |  |  | : |  |  |  |
| c) Reference Standard |  |  |  | : |  |  |  |
| d) Rated Voltage | KV |  |  | : |  |  |  |
| e) 1 minute power frequency withstand voltage |  |  |  | : |  |  |  |
| Dry | KV |  |  | : |  |  |  |
| Wet | KV |  |  | : |  |  |  |
| f) Impulse withstand | KV Peak |  |  | : |  |  |  |
| g) Creepage distance | mm |  |  | : |  |  |  |
| h) Weight of each bushing | kg |  |  | : |  |  |  |
| 32. Bus Duct Layout Drawing furnished | Yes/No |  |  | : |  |  |  |
| 33. Catalogue enclosed for various pieces of equipment | Yes/No |  |  | : |  |  |  |
| 34. Maximum Span |  |  |  |  |  |  |  |
| a) Between adjacent bus support insulator | mm |  |  | : |  |  |  |
| b) Between adjacent enclo-sure support structure | mm |  |  | : |  |  |  |

1.4.1	Space Heater Panel

| 1. Type |  | : |  |
| --- | --- | --- | --- |
| 2. Thickness of sheet steel used | mm | : |  |
| 3. Dimension | mm | : |  |
| 4. Weight | Kg | : |  |
| 5. Finish |  |  |  |
| a) Inside |  | : |  |
| b) Outside |  | : |  |
| 6. Degree of Protection |  | : |  |
| 7. Space Heater |  |  |  |
| a) KW |  | : |  |
| b) Volt |  | : |  |

1.5	MV SWITCHGEAR						11kV

Make			:

Type			:

Reference Standard		:

Voltage (Nom./Max.)	KV	:

Phase, Frequency 	No,Hz.	:

Short Circuit Rating

a)	Interrupting Symmetrical 	MVA 	:

b)	Short-time for 3 sec. 	KA rms :

Insulation Level

a)	Impulse Withstand	KVP	:

b)	1-min. 50 Hz.

Voltage Withstand 	KV rms	:

Metal-clad construction ?	Yes/No :

Degree of Protection		:

Minimum thickness of

sheet metal used	mm. 	:

Switchgear completely assembled,

wired and tested at factory	Yes/No :

CONSTRUCTION

Draw-out feature provided for :

a)	Circuit breaker with SERVICE, TEST

and DISCONNECTED position	Yes/No	:

b)	Voltage Transformer	Yes/No	:

c)	Protective relays	Yes/No	:

Breaker cubicle

a)	Cubicle door can be closed with

breaker in TEST position	Yes/No	:

b)	Working zone limits from

floor level 	mm 	:

c)	Earth Switch provided	Yes/No	:

d)	Feature for safety locking provided

(explain the feature)	Yes/No	:

All meters, switch & relays flush

mounted type 	Yes/No	:

Minimum clear space required at

a)	Front for breaker withdrawal	mm	:

b)	Rear	mm	:

Typical vertical section

a)	Overall dimension and weight mm, Kg.	:

i)	Incomer/Tie		:

ii)	Buscoupler		:

iii)	Transformer/Motor fdr.		:

Control compartment provided with

separate access door	Yes/No	:

Access to outgoing cable chamber from

rear with removable cover	Yes/No	:

Pathway for bus wire provided	Yes/No	:

BUS BAR

Make 		:

Material & Grade		:

Reference Standard 		:

Cross sectional Area & Size Sq.mm & mm	:

Continuous Current (at site condition,

50 Deg.C ambient & within cubicle)		:

Maximum temperature rise over

50 Deg.C		:

Short-time current for 3 sec 	KA rms	:

DC resistance at 85 Deg.C	Ohm/m/ph	:

Skin-effect ratio		:

Reactance 	Ohm/m/ph	:

Losses-middle phase 	W/m/ph	:

Minimum clearance of bare

bus bar and connection

a)	Phase to phase		mm	:

b)	Phase to ground		mm	:

Bus bar provided with

a)	Insulating sleeve		:

b)	Phase barriers  		:

c)	Cast resin shrouds for joint		:

Bus Connections

a)	Silver plated 		:

b)	Made with antioxide grease		:

Bus bar support spacing	mm	:

Bus support insulator

a)	Make		:

b)	Type		:

c)	Reference Standard		:

d)	Voltage Class	KV	:

e)	Minimum creepage

distance 		mm	:

f)	Cantilever strength    	Kg/Sq.cm	:

g)	Net weight		Kg 	:

CIRCUIT BREAKER

Make			:

Type			:

Reference standard		:

Rated voltage		KV	:

Rated frequency		Hz.	:

No. of poles 		No.	:

Rated Currents

a)	Continuous (at site condition,

50 Deg.C ambient & within

cubicle)  	Amp.	:

b)	Short-time current  for 3 sec.	KA rms	:

Max. temperature rise

over 50 Deg.C ambient 		Deg.C	:

Rated operating duty		:

Interrupting capacity at rated

voltage and operating duty

a)	Symmetrical	KA rms	:

b)	Assymmetrical	KA rms	:

Rated making current  	KA peak:

Transient Recovery Voltage

a)	Rate of rise  	KV/ms	:

b)	Peak voltage	KV	:

Maximum over voltage

factor when switching off

a)	Unloaded transformer		:

b)	Loaded transformer 		:

c)	Unloaded lines		:

d)	Induction Motor		:

e)	Capacitor banks		:

Insulation Level

a)	Impulse voltage withstand with

1.2 x 50 micro sec. wave  	KV peak	:

b)	1-minute 50 Hz.

voltage withstand 	KV 	:

At 100% interrupting capacity

a)	Opening time - Max.	ms	:

b)	Arcing time Max. 	ms	:

c)	Total tripping time (Max.)	ms	:

Total closing time (Max.)	ms	:

Number of breaks per pole		:

Total length of breaks per pole	mm	:

Total length of contact travel 	mm	:

Rate of contact travel

a)	At tripping	m/sec	:

b)	At closing	m/sec	:

No. of breaker operations permissible,

without requiring inspection, replacement

of contacts and other main parts 		:

a)	At 100% rated current		:

b)	At 100% rated interrupting current 	:

Type of contacts

a)	Main		:

b)	Arcing 		:

Material of contacts

a)	Main		:

b)	Arcing 		:

c)	Whether contacts silver plated 		:

d)	Thickness of silver plating		:

Contact pressure at no load	Kg.	:

Minimum clearance in air   	mm

a)	Between poles		:

b)	Between live parts and ground 		:

Type of arc control device provided  		:

Operating Mechanism

a)	Type		:

b)	No. of breaker operations stored  	:

c)	Trip free or fixed trip ?		:

d)	Anti-pumping features provided ?	:

Spring charging motor

a)	Rating 	KW 	:

b)	Voltage (A.C. or D.C.)	V	:

c)	Permissible voltage variation 	%   	:

Closing Coil

a)	Voltage 	V	:

b)	Permissible voltage variation	% 	:

c)	Closing current at rated voltage	A	:

Tripping Coil

a)	Voltage	V	:

b)	Permissible voltage variation	% 	:

c)	Trip current at rated voltage 	A 	:

For trip circuit supervision can the

tripping coil be connected in series with

auxiliary "74" as shown in the drawing 	:

Breaker/Cubicle Accessories

such as control switch, indication lamps,

relays furnished as specified ?		:

Breaker/Breaker Cubicle provided

with the following

a)	Mechanical safety interlock		:

b)	Automatic safety shutter 		:

c)	Emergency manual trip		:

d)	Mechanical ON-OFF indicator		:

e)	Operation counter 		:

f)	Charge/Discharge indication  		:

g)	Manual spring charging facility ?	:

h)	Auxiliary switch with 6 NO + 6 NC

contacts mounted on drawout portion	:

i)	2 Cell switch with 4 NO+4 NC contacts	:

j)	Auxiliary switch with 4 NO + 4 NC

contacts mounted as stationary parts	:

k)	Surge protection device ?		:

Cell/Auxiliary Switch

a)	Are switch contacts

convertible type ? 		:

b)	Contact rating at 		:	240V A.C.	220V D.C.

i)	Make & continuous	Amp.	:

ii)	Break (Inductive)	Amp.	:

P.F. for A.C.& L/R for D.C.

Trip circuit supervision relay

furnished for each breaker   		:

For SF6 breaker

a)	Pressure switch in each pole provided	:	Yes/No

b)	Pressure indicator provided		:	Yes/No

c)	Filling arrangement in poles provided	:	Yes/No

Net weight of the breaker 	Kg. 	:

Impact load for foundation design

(to include dead load plus impact

values on opening at maximum

interrupting rating).Kg. 		:

Overall dimension (LxBxH)	mm	:

Type test report on identical breaker

furnished		:

CONTROL & INDICATIONS

Push Buttons

a)	Make		:

b)	Type & Cat. No. 		:

c)	Contact rating at 		:	240V A.C. 	220V D.C.

i)	Make & continuous	Amp.	:

ii)	Break (Inductive) 	Amp.

P..F for A.C.& L/R for D.C.

Lamps

a)	Make 		:

b)	Type & Cat. No. 		:

c)	voltage 		:

Selector Switch

a)	Make 		:

b)	Type & Cat. No. 		:

c)	Contact rating at 		:	240V A.C. 	220V D.C.

i)	Make & continuous	Amps. 	:

ii)	Break (Inductive)	Amps. 	:

d)	Key interlock furnished ?		:

CURRENT TRANSFORMER

Make 		:

Type			:

Reference standard		:

CT ratios ?		:

Rated frequency 		:

Short Circuit Withstand

a)	Short-time current

for 3 sec. 	KA rms	:

b)	Dynamic current  	KA peak	:

Class of Insulation  		:

Temperature rise over

50 Deg.C ambient 	Deg.C	:

Basic Insulation level   	KV peak	:

CT magnetization curve furnished? 		:

CT for Differential Protection

a)	Class 		:

b)	Secondary resistance at 75 Deg.C	:

c)	Knee point voltage		:

d)	Excitation current at VK/2		:

Metering C.T. 			VA Burden	Class/ALF/ISF

a)	Incomer/Tie		:

b)	Motor feeder 		:

c)	Transformer feeder		:

Relaying C.T.

a)	Incomer/Tie		:

b)	Motor feeder  		:

c)	Transformer feeder		:

VOLTAGE TRANSFORMER

Make 		:

Type			:

Reference standard 		:

Voltage ratio		:

Rated frequency  		:

Accuracy class  		:

VA burden 		:

Over voltage factor

a)	Continuous 		:

b)	30 seconds 		:

Class of Insulation		:

Temp-rise over 50 Deg.C ambient	Deg.C	:

Basic Impulse level 	KVp 	:

Winding Connection

a)	Primary		:

b)	Secondary		:

Fuses

a)	Continuous ratings

- H.V/L.V	Amps	:

b)	Symmetrical fault

rating - HV/LV 	KA rms	:

RELAYS

Draw-out type with built in test facilities	:

Type of mounting ? 		:

Reference standard		:

All relays furnished as per the

drawings and annexures ? 		:

All relevant relay leaflets and

catalogue furnished ?	Yes/No	:

Relay details

Transducers

a)	Make		:

b)	Type		:

c)	Output (for energy, current and power)	:

METERS

Make 		:

Type			:

Reference standard   		:

Size			:

Scale 		:

Accuracy class 		:

Meter switch

a)	Make		:

b)	Type		:

c)	Cat. No.		:

SECONDARY WIRING

Type and Insulation		:

Voltage grade		:

Conductor material 		:

Conductor size (minimum)

a)	Potential circuit  		:

b)	Control & current circuit 		:

Wires identified at both ends with ferrules	:

TERMINAL BLOCK

Make			:

Type 		:

Cat. No.		:

20% spare terminals furnished		:

CABLE TERMINATION

Cable termination and connection

arrangement furnished as specified		:

Removable Gland Plate

a)	Material for multi- core cable 		:

b)	Material for single- core cable		:

c)	Thickness of the plate  		:

BUSDUCT CONNECTION

Busduct connection for 		:

a)	Top entry 	Yes/No :

b)	Side entry 	Yes/No :

GROUND BUS

Ground bus furnished 		:

Material 		:

Size 			:

NAME PLATE

Material 		:

Thickness		:

Size for	mm

a)	Panel  		:

b)	Equipment/devices  		:

SPACE HEATER/PLUG SOCKET

Cubicle Heater

a)	Thermostat controlled ? 		:

b)	Wattage		:

c)	Voltage		:

Plug Socket

a)	Type 		:

b)	Rating		:

Motor Heater

a)	Provision made for motor heater supply::

b)	Separate contactor furnished 		:

c)	If so, contactor rating 		:

Cubicle heater, motor heater & plug socket

circuit provided with individual switch fuse

unit ?			:

A.C./D.C. SUPPLY

Isolating switches fuse/MCCB unit for

incoming supply 		:

a)	A.C. - type & rating  		:

b)	D.C. - type & rating  		:

c)	Three position DC selector switch	:

Isolating switch fuse/MCCB unit at each

cubicle 		:

a)	A.C. supply - type & rating  		:

b)	D.C. supply - type & rating  		:

TROPICAL PROTECTION

a)	Any special treatment for

tropical protection ? 		:

b)	Screens are of corrosion resistant

materials ?		:

PAINTING

Finish of switchgear

a)	Inside 		:

b)	Outside 		:

NO. OF ACCESSORIES FURNISHED

a)	Earthing equipment		:

b)	Slow closing device for maintenance	:

c)	Test cabinet		:

d)	Cable termination kit

i)	Make		:

ii)	Type		:

iii)	Complete with all accessories	:

1.6	LV SWITCHGEAR

Make				:

Type				:

Reference Standard		:

Voltage (Nom./Max.)	Volt 	:

Phase, Frequency 	No., Hz :

Short Circuit Rating

a)	Interrupting Symmetrical 	KA	:

b)	Short time for 1 sec.	KA rms :

Insulation Level

1-min., 50 Hz Voltage withstand KV rms		:

Construction

a)	Metal clad, air insulated, floor

mounting	Yes/No :

b)	Suitable for mounting against

building wall 	Yes/No :

Enclosure

a)	Degree of Protection		:

b)	Minimum thickness of sheet metal 	mm	:

Switchgear fully assembled,

wired and tested at factory 	Yes/No :

CONSTRUCTION

Design

a)	Completely compartmentalised		:

b)	Working height limits from floor level 	mm	:

Draw out features provided for

Circuit breaker with SERVICE, TEST

and ISOLATED position  	Yes/No :

b)	Voltage Transformers	Yes/No	 :

c)	Protective Relays	Yes/No	 :

d)	MCC module provided with service

test & isolated position	Yes/No :

Breaker Cubicle

a)	Breaker cubicles restricted

to bottom 2-tiers only	Yes/No :

b)	Working height limits

from floor level 	mm 	:

c)	Cubicle door can be closed with

Breaker in isolated position	Yes/No	:

Control Compartment provided

with individual front access door?		:

Switchgear section provided with

a)	Removable back cover		:

b)	Full height cable chamber		:

Horizontal wire way for inter panel wiring		:

All meter, switch and relays flush

mounted  type	Yes/No	:

Minimum clear space required at

a)	Front for breaker withdrawal	mm	:

b)	Rear		mm	:

Vertical Section for

a)	Overall Dimension (L x B x H)	mm	:

	Incomer/Tie   		:

	Feeder/Motor   		:

b)	Approximate Weight  	Kg	:

BUSBAR

Make 			:

Material & Grade		:

Reference, Standard  		:

Cross Sectional area	sq.mm

a)	Main Busbar	Ph/N	:

b)	Vertical Busbar	Ph/N	:

Continuous current (at site condition,

50 deg.C ambient & within cubicle)

a)	Main bus bar	Amp	:

b)	Vertical bus bar	Amp	:

Maximum temperature rise over 50 Deg.C		:

Short-time current for 1 sec. KA rms.   		:

Separate enclosure/phase barriers

sleeving/shrouding provided for :

a)	Main busbar		:

b)	Vertical droppers		:

c)	Circuit Breaker connections		:

Bus Connections

a)	Silver plated		:

b)	Provided with anti-oxide grease		:

c)	Bimetallic connectors between

dissimilar metals		:

Minimum clearance of bare

busbar and connection

a)	Phase to phase	mm	:

b)	Phase to ground	mm	:

Busbar support spacing	mm	:

Busbars colour coded	Yes/No	:

Bus Support Insulator

a)	Make			:

b)	Type			:

c)	Reference Standard 		:

d)	Voltage class	KV	:

e)	Minimum Creepage Distance 	mm 	:

f)	Cantilever Strength	Kg/sq.cm 	:

g)	Net Weight  	Kg 	:

AIR CIRCUIT BREAKER

Make 			:

Type 			:

Reference Standard 		:

Rated Voltage  	KV	:

Rated Frequency 	Hz	:

No. of Poles	No.	:

Rated Currents

a)	Continuous (at site condition,

50 Deg.C ambient & within cubicle)  	Amp.	:

b)	Short-time Current for1 second 	 KA rms.	:

Maximum temperature rise over

50 Deg.C ambient 	Deg.C.	:

Rated Operating Duty		:

Interrupting Capacity at rated Voltage

and Operating duty 		:

a)	Symmetrical  	KA rms.	:

b)	Asymmetrical 	KA rms.	:

Rated Making Current	KA.peak 	:

Transient Recovery Voltage

a)	Rate of Rise	KV/ms	:

b)	Peak Voltage	KV	:

Insulation Level

1-minute 50 Hz voltage withstand 	KV rms.	:

At 100% interrupting capacity

a)	Opening time	ms. 	:

b)	Arcing time	ms.	:

c)	Total tripping time  	ms. 	:

Total closing time  	ms. 	:

Number of breaks per pole 		:

Total length of breaks per pole 	mm	:

Total length of contact travel 	mm	:

Rate of Contact Travel

a)	At tripping 	m/s	:

b)	At closing 	m/s	:

No. of breaker operations permissible,

without requiring inspection, replacement

of contacts and other main parts 		:

a)	At 100% rated current		:

b)	At 100% rated interrupting current		:

Type of Contacts

a)	Main			:

b)	Arcing		:

Material of Contacts

a)	Main			:

b)	Arcing		:

c)	Whether contacts are silver plated  		:

d)	Thickness of silver plating		:

Contact Pressure at no load 	Kg 	:

Minimum clearance in air

a)	Between poles  	mm  	:

b)	Between live parts & ground  	mm 	:

Type of arc control device ?		:

Operating Mechanism

a)	Type			:

b)	No. of breaker operations stored 		:

c)	Trip free or fixed trip ?		:

d)	Anti-pumping features provided ? 		:

Spring Charging Motor

a)	Rating    	KW	:

b)	Voltage 	V 	:

c)	Permissible Voltage variation	% 	:

Closing Coil

a)	Voltage  	V 	:

b)	Permissible Voltage variation 	% 	:

c)	Closing current at rated voltage	A	:

Tripping Coil

a)	Voltage	V 	:

b)	Permissible Voltage variation   	% 	:

c)	Trip current at rated voltage  	A	:

For trip circuit supervision can the

tripping coil be connected in series with 		:

a)	Green lamps when breaker is open		:

b)	Red lamps when breaker is closed		:

Breaker/Cubicle Accessories

Accessories such as control switch,

indication lamps, relays furnished as specified	:

Breaker/Breaker Cubicle

provided with following :

a)	Mechanical safety interlock		:

b)	Automatic safety shutter  		:

c)	Emergency manual trip 		:

d)	Mechanical ON-OFF indicator		:

e)	Manual spring charging device		:

f)	Manual operating handle 		:

g)	Operation counter  		:

h)	Charge/Discharge indication		:

I)	Cell switch with 6 NO + 6 NC contacts  		:

j)	Spare auxiliary switch with 6 NO + 6 NC

contacts for interlock mounted on

stationary parts as specified		:

Cell/Auxiliary Switch

a)	Are switch contacts convertible type?		:

b)	Contact rating 220V DC

i)	Make & Continuous   	Amp 	:

ii)	Break (Inductive)	Amp 	:

Net weight of the breaker    	Kg 	:

Impact load for foundation design

(to include deadload plus impact values

on opening at maximum interrupting rating)	Kg 	:

Overall Dimension  (LxBxH) 	mm	:

Type test report on identical breaker furnished	:

CONTROL MODULE

Control Modules :

a)	Fully drawout for PCC/PMCCs/MCCs	Yes/No  :

b)	Fixed type for DBs 		:

Power/Control disconnects silver

plated for good contacts		:

Drawout Modules of same type & rating

are physically & electrically interchangeable  		:

SWITCHES/MCCB

Make 			:

Type 			:

Reference Standard 		:

Switch furnished with  		:

a)	Operating handle 		:

b)	Door interlock 		:

c)	Provision for padlocking in ON &

OFF Positions.		:

Current Ratings at 50 Deg.C

ambient & within cubicle :

Breaking current @ 415 V A.C. or 220 V D.C. 	:

FUSE

Make 			:

Type 			:

Reference standard		:

Rupturing capacity  KA rms (sym)   		:

Continuous current at 50 Deg.C

ambient & within cubicle  	Amps	:

Cut off currents 	KA peak :

Fuse characteristics furnished

for various fuse ratings		:

CONTROL & INDICATIONS

Push Buttons

a)	Make			:

b)	Type & Cat. No. 		:

c)	Contact rating		:

i)	Make & Continuous   	Amp	:

	240 V AC	Amp 	:

	220 V DC	Amp 	:

ii)	Break (Inductive) 	Amp 	:

	240 V AC 	Amp	:

 	220 V DC 	Amp 	:

Lamps (LED Type)

a)	Make			:

b)	Type & Cat. No.  		:

c)	Voltage		:

Selector Switch

a)	Make			:

b)	Type & Cat. No.  		:

c)	3-position stay put type		:

d)	Contact rating -

i)	Make & Continuous 	Amp 	:

	240 V AC  	Amp	:

	220 V DC	Amp	:

ii)	Break (indicative) 	Amp 	:

	240 V AC 	Amp	:

	220 V DC 	Amp	:

e)	Key interlock furnished ?		:

CURRENT TRANSFORMER

Make 			:

Type				:

Reference Standard  		:

C.T. Ratios as per drawings ?		:

Rated frequency		:

Class/ALF or ISF/VA burden furnished for 		:

a)	Differential C.T.		:

b)	Relaying C.T. 		:

c)	Metering C.T. 		:

Short-Circuit Withstand

a)	Short-time current for 1 sec.	KA rms :

b)	Dynamic current	KA peak:

Class of Insulation		:

Temperature rise over 50 Deg.C ambient		:

Basic Insulation level 	KV rms	:

CONTROL TRANSFORMER

a)	Make			:

b)	Ratio			:

c)	VA rating		:

d)	Taps available		:

VOLTAGE TRANSFORMER

Make				:

Type				:

Reference Standard 		:

Voltage ratio    		:

Rated frequency   		:

Accuracy class 		:

VA burden  		:

Over Voltage factor

a)	Continuous 		:

b)	30 seconds 		:

Class of Insulation  		:

Temperature rise over 50 Deg.C ambient 		:

Basic Impulse Level  	 Kvp	:

Winding Connection

a)	Primary 		:

b)	Secondary		:

Fuses

a)	Continuous rating	Amp.	:

b)	Symmetrical fault rating 	KA rms:

RELAYS

Drawout type with built in test facilities		:

Type of mounting ? 		:

Reference Standard  		:

All relays furnished as per

the drawings & Annexures		:

All relevant relay leaflets and catalogue furnished ?	:

METERS

Make 			:

Type				:

Reference Standard 		:

Size				:

Scale			:

Accuracy class 		:

Meter Switch

a)	Make			:

b)	Type			:

c)	Cat. No. 		:

SECONDARY WIRING

Type of Insulation		:

Voltage grade  		:

Conductor material  		:

Conductor Size (Minimum)

a)	Potential & Control Circuit		:

b)	Current Circuit 		:

Wires identified at  both

ends with markers ? 		:

TERMINAL BLOCK

Make				:

Type				:

Cat. No. 			:

Voltage grade 		:

20% spare terminals furnished		:

CABLE TERMINATION

Cable termination/connection

furnished as specified 		:

Cable termination kit furnished

a)	Make 		:

b)	Type			:

c)	Complete with all accessories  		:

Cable entry provision from top and bottom	Yes/No :

Cable Lugs

a)	Type			:

b)	Material 		:

Cable Gland

a)	Type			:

b)	Material  		:

c)	With tapered washer 		:

d)	With armour clamp  		:

Removable Gland Plate

a)	Material for multicore cable		:

b)	Material for I/C cable		:

c)	Thickness of the plate 		:

GROUND BUS

Ground bus furnished 		:

Material   			:

Size				:

NAME PLATE

Material 			:

Thickness 			:

Size for

a)	Panel 		:

b)	Equipment/Device 		:

SPACE HEATER/PLUG SOCKET

Cubicle Heater

a)	Thermostat controlled 		:

b)	Wattage 		:

c)	Voltage 		:

Plug Socket

a)	Type			:

b)	Rating 		:

Motor Heater

a)	Provision made for motor heater supply 	:

b)	Separate contactor furnished  		:

c)	If so, contactor rating  		:

Cubicle heater, motor heater & plug socket

circuit provided with individual switch fuse unit ?	:

A.C./D.C. SUPPLY

Isolating switch fuse unit for incoming supply :

a)	A.C. - type & rating    		:

b)	D.C. - type & rating 		:

c)	Three position DC selector switch		:

Isolating switch fused unit at each cubicle 		:

a)	A.C. - type & rating		:

b)	D.C. - type & rating		:

TROPICAL PROTECTION

Any special treatment for tropical protection		:

Screens are of corrosion resistant materials		:

PAINTING

Finish -

a)	Inside  		:

b)	Outside		:

NO.OF ACCESSORIES FURNISHED

Breaker lifting/handling truck  		:

Device for slow opening

& closing of breaker 		:

Racking in/out handle		:

1.7	MOTOR CONTROL CENTRE/DIST. BOARD

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Voltage (Nom./Max.) | Volt | : |  |
| 5. Phase, Frequency | No., Hz | : |  |
| 6. Short Circuit Rating |  |  |  |
| a) Interrupting Symmetrical | KA | : |  |
| b) Short time for 1 Sec. | KA rms | : |  |
| 7. Insulation level 1 min. 50 Hz Voltage withstand | KV rms | : |  |
| 8. a) Metal clad air insulated floor mounting | Yes/No | : |  |
| 9. Enclosure |  |  |  |
| a) Degree of protection |  | : |  |
| b) Minimum thickness of sheet metal | mm | : |  |
| 10. MCC/DB fully assembled wired and tested at factory | Yes/No | : |  |

1.7.1	Construction

| 1. Design |  |  |  |
| --- | --- | --- | --- |
| a) Completely compartmen-talised |  | : |  |
| b) Working height limits from floor level | mm | : |  |
| 2. Control Compartment |  |  |  |
| a) Provided with individual front access door |  | : |  |
| 3. MCC/DB Section provided with full height cable chamber |  | : |  |
| 4. Horizontal wireway for inter panel wiring provided for each MCC/DB |  | : |  |
| 5. All meters, relays, lamps, etc. flush mounted type |  | : |  |
| 6. Vertical Section Size (LxDxH) |  | : |  |
| a) MCC (L x D x H) | mm | : |  |
| b) DB (L x D x H) | mm | : |  |

1.7.2	Busbar

| 1. Make |  | : |  |
| --- | --- | --- | --- |
| 2. Material and Grade |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Continuous current at site condition & within cubicle |  |  |  |
| a) Main Busbar | Amp | : |  |
| b) Vertical Busbar (min.) | Amp | : |  |
| 5. Conductor Section |  |  |  |
| a) Main Busbar | mm2 | : |  |
| b) Vertical Busbar | mm2 | : |  |
| 6. Max. temp. rise over site ambient | Deg C | : |  |
| 7. Short-time current for 1 sec. | KA rms | : |  |
| 8. Separate chamber/phase barrier/shrouding provided for |  |  |  |
| a) Main Busbar |  | : |  |
| b) Vertical Busbar |  | : |  |
| 9. Busbar Connections |  |  |  |
| a) Silver plated |  | : |  |
| b) Provided with anti-oxide grease |  | : |  |
| c) Bimetallic connectors between dissimilar metals |  | : |  |
| 10. Minimum clearance of bare busbar and connection |  |  |  |
| a) Phase to phase | mm | : |  |
| b) Phase to ground | mm | : |  |
| 11. Busbar support spacing | mm | : |  |
| 12. Busbars colour coded | Yes/No | : |  |
| 13. Bus Support Insulator |  |  |  |
| a) Make |  | : |  |
| b) Type |  | : |  |
| c) Reference Standard |  | : |  |
| d) Voltage Class | KV | : |  |
| e) Min. Creepage Distance | mm | : |  |
| f) Cantilever Strength | Kg/cm2 | : |  |
| g) Net Weight | Kg | : |  |

1.7.3	Control Module

| 1. Control Modules |  |  |  |
| --- | --- | --- | --- |
| a) Fully drawout for MCCs | Yes/No | : |  |
| b) Fixed type for DBs | Yes/No | : |  |
| 2. Power/Control disconnects silver plated for good contacts |  | : |  |
| 3. Drawout Modules of same type and rating are physically and electrically interchangeable |  | : |  |

1.8	BATTERY

| A. General |  |  |  |
| --- | --- | --- | --- |
| 1. Make |  | : |  |
| 2. Cat No. |  | : |  |
| 3. Type |  | : |  |
| 4. Reference Standard |  | : |  |
| B. Rating |  |  |  |
| 1. Rated Voltage | Volt | : |  |
| 2. 10-hour rating at 27 Deg.C to 1.85 Volt per cell | AH | : |  |
| 3. 1-hour discharge rate to 1.75 Volt per cell | Amp | : |  |
| 4. 1-minute discharge rate to 1.75 Volt per cell | Amp | : |  |
| C. Performance |  |  |  |
| 1. Battery duty cycle curve furnished | Yes/No | : |  |
| 2. Cell voltage characteristics during duty cycle furnished | Yes/No | : |  |
| 3. Minimum cell voltage during duty cycle | Volt | : |  |
| 4. AH efficiency at 10-hour discharge rate | % | : |  |
| 5. Expected life of Battery | Hr. | : |  |
| D. Battery Characteristics |  |  |  |
| 1. Recomended charging rate for |  |  | Volt/Cell Amp |
| a) Float charging |  | : |  |
| b) Equalising Charge |  | : |  |

| c) Boost charging in 10 hrs. |  |  |  |
| --- | --- | --- | --- |
| Start |  | : |  |
| Finish |  | : |  |
| 2. Recommend specific gravity at 27 Deg.C |  |  |  |
| a) For first filling |  | : |  |
| b) At full charge |  | : |  |
| c) At end of 10-hour discharge |  | : |  |
| 3. Short-circuit current for a dead-short across battery terminals, when |  |  |  |
| a) Float charge at rated Volt/Cell | KA | : |  |
| b) Boost charge at rated Volt/Cell | KA | : |  |
| 4. Battery internal resistance | Ohm | : |  |
| 5. Cell voltage characteristics during charging furnished | Yes/No | : |  |
| E. Cells |  |  |  |
| 1. Number of cells per battery |  | : |  |
| 2. Type of the cell |  | : |  |
| 3. Cell designation as per I.S |  | : |  |
| 4. Material of the container |  | : |  |
| 5. Overall dimension of each cell (LxDxH) | mm | : |  |
| 6. Weight of complete cell |  |  |  |
| a) Without acid | Kg | : |  |
| b) With acid | Kg | : |  |
| 7. Internal resistance of cell | Ohm | : |  |
| F. Inter-cell Connector |  |  |  |
| 1. Inter-cell connector furnished | Yes/No | : |  |
| 2. Type of inter-cell connector | bolted/ burned | : |  |
| 3. Material of inter-cell connector |  | : |  |

| G. Plates |  |  |  |
| --- | --- | --- | --- |
| 1. Number of positive plates per cell |  | : |  |
| 2. Type of positive plate |  | : |  |
| 3. Type of negative plate |  | : |  |
| H. Separator |  |  |  |
| 1. Type |  | : |  |
| 2. Material |  | : |  |
| 3. Thickness |  | : |  |
| I. Electrolyte |  |  |  |
| 1. Amount of electro-lyte for first filling |  |  |  |
| a) Per cell | litre | : |  |
| b) Per set | litre | : |  |
| 2. First filling with 10% extra furnished | Yes/No | : |  |
| 3. Electrolyte conforms to |  | : |  |
| J. Racks |  |  |  |
| 1. Number of racks per battery |  | : |  |
| 2. Number of cells per rack |  | : |  |
| 3. Type of racks | Rows/Tiers | : |  |
| 4. Material of rack |  | : |  |
| 5. Racks provided with |  |  |  |
| a) Numbering tags for cells | Yes/No | : |  |
| b) Teakwood clamps for cables | Yes/No | : |  |
| 6. Insulator furnished for: |  |  |  |
| a) Cell | Yes/No | : |  |
| b) Stand | Yes/No | : |  |
| 7. Inter-row, Inter-tier connectors & end take-off furnished | Yes/No | : |  |
| 8. Connector hardwares furnished | Yes/No | : |  |
| K. Dimension & Weight |  |  |  |
| 1. Overall dimension (LxDxH) | mm | : |  |
| 2. Approx. Weight | Kg | : |  |
| 3. Battery layout drawing furnished | Yes/No | : |  |
| L. Ventilation requirement furnished | Yes/No | : |  |
| M. List of accessories furnished | Yes/No | : |  |
| N. Technical leaflets furnished | Yes/No | : |  |

1.9	BATTERY CHARGER

| A. General |  |  |  |
| --- | --- | --- | --- |
| 1. Make |  | : |  |
| 2. Cat. No. |  | : |  |
| 3. Type |  | : |  |
| 4. Reference Standard |  | : |  |
| B. A.C. Input |  |  |  |
| 1. Voltage ± % variation | Volt | : |  |
| 2. Phase | No. | : |  |
| 3. Frequency ± % variation | Hz. | : |  |
| 4. Input current | Amp | : |  |
| C. D.C. Output |  |  | Float Boost Charger Charger |
| 1. Voltage | Volt/Cell | : |  |
| 2. Current | Amp. | : |  |
| D. Type of Cooling |  | : |  |
| E. Max. Temp rise within cubicle above site ambient |  | : |  |
| a) Rectifier transformer | C | : |  |
| b) SCR | C | : |  |
| F. Performance |  |  |  |
| 1. Regulation for 0-100% rated load with ±10% Input voltage and ±5% input frequency variation | % | : |  |
| 2. Ripple content in D.C. output |  |  |  |
| a) With battery | % | : |  |
| b) Without battery | % | : |  |
| 3. Guaranteed efficiency at rated load | % | : |  |
| 4. Power factor at rated load | % | : |  |

| G. Miscellaneous |  |  |  |
| --- | --- | --- | --- |
| 1. Charger provided with following features : |  |  |  |
| a) Automatic voltage regulation | Yes/No | : |  |
| b) Current limiting circuitry | Yes/No | : |  |
| c) Smoothing filter circuit | Yes/No | : |  |
| d) Soft-start feature | Yes/No | : |  |
| e) Automatic load sharing during parallel operation | Yes/No | : |  |
| 2. SCR elements provided with |  |  |  |
| a) Surge protection | Yes/No | : |  |
| b) Fast acting HRC fuse | Yes/No | : |  |
| H. A.C. Switch/MCCB |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Rated Current | Amp | : |  |
| I. A.C. Fuse/MCB |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Current rating |  |  |  |
| a) Continuous | Amp | : |  |
| b) Interrupting | KA | : |  |
| J. A.C. Contactor |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Rated Current | Amp | : |  |
| 5. Utilization category |  | : |  |
| 6. Thermal overload with in-built single phase preventor provided | Yes/No | : |  |

| K. Rectifier Transformer |  |  |  |
| --- | --- | --- | --- |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Rating |  |  |  |
| a) KVA |  | : |  |
| b) Voltage |  | : |  |
| c) % reactance |  | : |  |
| 5. Class of insulation |  | : |  |
| 6. Method of cooling |  | : |  |
| L. Controlled Rectifier (SCR) |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Rms Current rating | Amp | : |  |
| 5. Surge Current |  |  |  |
| a) One-cycle | Amp | : |  |
| b) Repeatative cycle | Amp | : |  |
| 6. Peak inverse voltage |  |  |  |
| a) Continuous | Volt | : |  |
| b) Surge | Volt | : |  |
| M. D.C. Fuse/MCB |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Current rating |  |  |  |
| a) Continuous | Amp | : |  |
| b) Interrupting | KA | : |  |
| N. D.C. Contactor |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Current rating | Amp | : |  |
| 5. Utilization category |  | : |  |
| O. Blocking Diodes |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Current rating |  |  |  |
| a) One-minute | Amp | : |  |
| b) One-hour | Amp | : |  |
| 5. Peak inverse voltage | Volt | : |  |
| P. Indication Lamps |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Wattage | Watt | : |  |
| 5. Series resistor | Ohm | : |  |
| Q. Meters |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Size |  | : |  |
| 5. Accuracy |  | : |  |
| R. Alarm Facia |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. No. of window per facia |  | : |  |
| S. D.C. Switch/MCCB |  |  |  |
| 1. Make |  | : |  |
| 2. Type/Cat. No. |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Rating | Amp | : |  |
| 5. No. of poles |  | : |  |
| T. Charger Panel |  |  |  |
| 1. Make |  | : |  |
| 2. Type |  | : |  |
| 3. Reference Standard |  | : |  |
| 4. Enclosure |  |  |  |
| a) Degree of protection |  | : |  |
| b) Sheet steel thickness | mm | : |  |
| 5. Panel provided with |  |  |  |
| a) Internal lamp with door-switch | Yes/No | : |  |
| b) Space heater with thermo-stat | Yes/No | : |  |
| c) 5A, 3-pin receptacle with plug | Yes/No | : |  |
| 6. Internal Wiring |  |  |  |
| a) Insulation |  | : |  |
| b) Voltage grade |  | : |  |
| c) Minimum conductor size | mm² | : |  |
| 7. Power Terminals |  |  |  |
| a) Make |  | : |  |
| b) Size/Cat. No. |  | : |  |
| 8. Control Terminals |  |  |  |
| a) Make |  | : |  |
| b) Size/Cat. No. |  | : |  |
| c) 20% spare terminal furnished | Yes/No | : |  |
| 9. Ground Terminal furnished | Yes/No | : |  |
| 10. Overall dimension (LxDxH) | mm | : |  |
| 11. Weight | Kg | : |  |
| 12. General Arrangement drawings furnished | Yes/No | : |  |

1.10	UPS SYSTEM

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Type |  | : |  |
| 1.3 Reference Standard |  | : |  |
| 2.0 Dimension & Weights |  |  |  |
| 2.1 Number of cabinets |  | : |  |
| 2.2 Dimension of Inverter cabinet (LxDxH) | mm | : |  |
| 2.3 Dimension of static switch cabinet (LxDxH) | mm | : |  |
| 2.4 Dimension of Charger cabinet (LxDxH) | mm | : |  |
| 2.5 Dimension of A.C. distribution board (LxDxH) | mm | : |  |
| 2.6 Dimension of transformer and stabilizer panel (LxDxH) | mm | : |  |

| 2.7 Dimension of any other UPS cabinet, if furnished (LxDxH) | mm | : |  |
| --- | --- | --- | --- |
| 2.8 Overall dimension (LxDxH) | mm | : |  |
| 2.9 Weight of the following with all Equipment installed |  |  |  |
| a. Inverter cabinet | Kg. | : |  |
| b. Static switch cabinet | Kg. | : |  |
| c. Charger cabinet | Kg. | : |  |
| d. A.C. Distribution boards | Kg. | : |  |
| e. Transformer and stablizer panel | Kg. | : |  |
| f. Other UPS cabinet | Kg. | : |  |
| g. Total weight | Kg. | : |  |
| 3.0 Heat load for Ventilation/Air Conditioning requirement |  |  |  |
| a. Inverter and static switch at 100% load |  | : |  |
| b. Inverter and static switch at 50% load |  | : |  |
| c. Inverter and static switch at 33% load |  | : |  |
| d. Charger and accessories at 100% load |  | : |  |
| e. Charger and accessories at 50% load |  | : |  |
| f. UPS battery |  | : |  |

1.10.1	Static Inverter

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Cat. No. |  | : |  |
| 1.3 Type |  | : |  |
| 1.4 Reference Standard |  | : |  |
| 2.0 D.C. Input |  |  |  |
| 2.1 Voltage | Volt | : |  |
| 2.2 Current |  |  |  |
| a. No load | Amp | : |  |
| b. Full load | Amp | : |  |
| 3.0 A.C. Output |  |  |  |
| 3.1 Voltage + % variation | Volt | : |  |
| 3.2 Frequency + % variation | Hz | : |  |
| 3.3 No load Current | Amp | : |  |
| 3.4 Full load Current | Amp | : |  |
| 3.5 Maxm. inrush current during inverter energisation | Amp | : |  |
| 4.0 Capacity |  |  |  |
| 4.1 Rated full load capacity at unity power factor |  | : |  |
| 4.2 Rated full load capacity at 0.8 power factor |  | : |  |
| 5.0 Performance |  |  |  |
| 5.1 Regulation for 0-100% rated load at all Input voltage | % | : |  |
| 5.2 Transient output voltage regulation on application and removal of 100% load | % | : |  |
| 5.3 Frequency variation for all conditions of input supply, load and temperature occuring simultaneously or in any combination | % | : |  |
| 5.4 Total harmonic content at rated load | % | : |  |
| 5.5 Overload capacity at 100 percent voltage |  |  |  |
| a. For 4 milliseconds (for clearing) | % | : |  |
| b. For 100 milliseconds | % | : |  |
| c. For 60 seconds | % | : |  |
| d. Capacity to clear maxim. fuse rating and duration |  | : |  |
| 5.6 Overload capacity at 90 percent voltage |  |  |  |
| a. For 4 milliseconds | % | : |  |
| b. For 100 milliseconds | % | : |  |
| c. For 60 seconds |  | : |  |
| 5.7 Efficiency (Watt output/ Watt input) |  |  |  |
| a. Rated load at 1.0 PF/0.8 PF | % | : |  |
| b. 50% Rated load at 1.0 PF/0.8 PF | % | : |  |
| c. 33% Rated load at 1.0 PF/0.8 PF | % | : |  |
| 6.0 Miscellaneous |  |  |  |
| 6.1 Inverter provided with following features |  |  |  |
| a. Automatic voltage regulation |  | : |  |
| b. Current limiting circuitry |  | : |  |
| c. Wave shaping circuit |  | : |  |
| d. Transient recovery circuit |  | : |  |
| e. Automatic synchronising circuit |  | : |  |
| f. Soft-start feature |  | : |  |
| g. Smoothing filter circuit |  | : |  |
| 6.2 SCR elements provided with |  |  |  |
| a. Surge protection |  | : |  |
| b. Fast acting HRC fuse |  | : |  |
| 6.3 Fuse type size and characteristics |  |  |  |
| a. Inverter input |  | : |  |
| b. Inverter output |  | : |  |
| 6.4 Inverter auxiliary equipment along with necessary annunciations furnished as per specification | Yes/No | : |  |
| 6.5 Cooling |  |  |  |
| a. Type |  | : |  |
| b. Number of fans |  | : |  |
| c. Operating time at full load without forced air cooling |  | : |  |
| 6.6 Technical literature for inverter and auxiliary equipment furnished | Yes/No | : |  |

1.10.2	Static Transfer Switch

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Cat. No. |  | : |  |
| 1.3 Type |  | : |  |
| 1.4 Reference Standard |  | : |  |
| 2.0 Ratings |  |  |  |
| 2.1 Rated voltage | Volt | : |  |
| 2.2 Rated current | Amp | : |  |
| 2.3 Transfer time | ms | : |  |
| 3.0 Performance |  |  |  |
| 3.1 Overload capacity |  |  |  |
| a. For 100 milliseconds | % | : |  |
| b. For 60 seconds | % | : |  |
| c. For indefinite period | % | : |  |
| 4.0 Miscellaneous |  |  |  |
| 4.1 Oscillagraphic records for transfer operation furnished | Yes/No | : |  |
| 4.2 Static transfer switch auxiliary equipment along with necessary annunciation furnished as per specification | Yes/No | : |  |
| 4.3 Technical literature for static transfer switch and auxiliary equipment furnished | Yes/No | : |  |

1.10.3	Manual By-Pass Switch

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Cat. No. |  | : |  |
| 1.3 Type |  | : |  |
| 1.4 Reference Standard |  | : |  |
| 2.0 Ratings |  |  |  |
| 2.1 Rated voltage | Volt | : |  |
| 2.2 Rated current | Amp | : |  |
| 3.0 Miscellaneous |  |  |  |
| 3.1 Contact configuration and type of switch as per specification furnished | Yes/No | : |  |
| 3.2 Technical literature on manual by-pass switch furnished | Yes/No | : |  |

1.10.4		Battery

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Cat. No. |  | : |  |
| 1.3 Type |  | : |  |
| 1.4 Reference Standard |  | : |  |
| 2.0 Ratings |  |  |  |
| 2.1 Rated voltage | Volt | : |  |
| 2.2 10-hour rating at 27oC to 1.85 Volt per cell | AH | : |  |
| 2.3 1-hour discharge rate to 1.75 Volt per cell | Amp | : |  |
| 2.4 1-minute discharge rate to 1.75 Volt per cell | Amp | : |  |
| 3.0 Performance |  |  |  |
| 3.1 Battery duty cycle curve furnished | Yes/No | : |  |
| 3.2 Cell voltage characteristics during duty cycle furnished | Yes/No | : |  |
| 3.3 Minimum cell voltage during duty cycle | Volt | : |  |
| 3.4 AH efficiency at 10-hour discharge rate | % | : |  |
| 3.5 Expected life of Battery | Hr | : |  |
| 4.0 Battery Characteristics |  |  |  |
| 4.1 Recommended charging rate for |  |  | Volt/Cell Amp |
| a. Float charging |  | : |  |
| b. Boost charging in 10 hrs. |  |  |  |
| Start |  | : |  |
| Finish |  | : |  |
| 4.2 Short-circuit current for a dead-short across battery terminals, when |  |  |  |
| a. Float charge at rated Volt/ Cell | KA | : |  |
| b. Boost charge at rated Volt/ Cell | KA | : |  |
| 4.3 Battery internal resistance | Ohm | : |  |
| 4.4 Cell voltage characteristics during charging furnished | Yes/No | : |  |
| 5.0 Cells |  |  |  |
| 5.1 Number of cells per battery |  | : |  |
| 5.2 Type of the cell |  | : |  |
| 5.3 Cell designation as per I.S. |  | : |  |
| 5.4 Material of the container |  | : |  |
| 5.5 Overall dimension of each cell (LxDxH) | mm | : |  |
| 5.6 Weight of complete cell : |  |  |  |
| a. Without acid | Kg | : |  |
| b. With acid | Kg | : |  |
| 5.7 Internal resistance of cell | Ohm | : |  |
| 6.0 Inter-cell Connector |  |  |  |
| 6.1 Inter-cell connector furnished |  | : |  |
| 6.2 Type of inter-cell connector | bolted/ burned | : |  |
| 6.3 Material of inter-cell connector |  | : |  |
| 7.0 Plates |  |  |  |
| 7.1 Number of positive plates per cell |  | : |  |
| 7.2 Type of positive plate |  | : |  |
| 7.3 Type of negative plate |  | : |  |
| 8.0 Separator |  |  |  |
| 8.1 Type |  | : |  |
| 8.2 Material |  | : |  |
| 8.3 Thickness |  | : |  |
| 9.0 Electrolyte |  |  |  |
| 9.1 Electrolyte conform to |  | : |  |
| 10.0 Racks |  |  |  |
| 10.1 Number of racks per battery |  | : |  |
| 10.2 Number of cells per rack |  | : |  |
| 10.3 Type of racks | Rows/Tiers | : |  |
| 10.4 Material of rack |  | : |  |
| 10.5 Racks provided with |  |  |  |
| a. Numbering tags for cells | Yes/No | : |  |
| b. Teakwood clamps for cables | Yes/No | : |  |
| 10.6 Insulator furnished for |  |  |  |
| a. Cell | Yes/No | : |  |
| b. Stand | Yes/No | : |  |
| 10.7 Inter-row, Inter-tier connectors and end take-off furnished | Yes/No | : |  |
| 10.8 Connection hardware furnished | Yes/No | : |  |

| 11.0 Dimension & Weights |  |  |  |
| --- | --- | --- | --- |
| 11.1 Overall dimension (LxDxH) | mm | : |  |
| 11.2 Approx. Weight | Kg | : |  |
| 11.3 Battery layout drawing furnished | Yes/No | : |  |
| 12.0 Ventilation Requirement furnished | Yes/No | : |  |
| 13.0 List of accessory furnished | Yes/No | : |  |
| 14.0 Technical leaflet furnished | Yes/No | : |  |

1.10.5	Battery Charger

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Cat. No. |  | : |  |
| 1.3 Type |  | : |  |
| 1.4 Reference Standard |  | : |  |
| 2.0 A.C. Input |  |  |  |
| 2.1 Voltage ± % variation | Volt | : |  |
| 2.2 Phase | No. | : |  |
| 2.3 Frequency + % variation | Hz | : |  |
| 2.4 Input amps at the following loads in addition to supply the battery charging current. |  |  |  |
| a. 50% rated load | Amp | : |  |
| b. 100% rated load | Amp | : |  |
| c. 110% rated load | Amp | : |  |
| 2.5 Charger maximum inrush current | Amp | : |  |
| 3.0 D.C. Output |  |  |  |
| a. Voltage | Volt/Cell | : |  |
| b. Current | Amp | : |  |
| 4.0 Performance |  |  |  |
| 4.1 Regulation for 0-100% rated load with ±10% Input voltage and ±5% input frequency variation | % | : |  |
| 4.2 Ripple content in D.C. output |  |  |  |
| a. With battery | % | : |  |
| b. Without battery | % | : |  |
| 4.3 Efficiency at |  |  |  |
| a. 50% rated load | % | : |  |
| b. 100% rated load | % | : |  |
| 4.4 Power factor at rated load | % | : |  |
| 4.5 Maximum fault current for the short circuit at output terminals |  |  |  |
| a. With current limiting device operative | KA | : |  |
| b. With current limiting device in operative | KA | : |  |
| 5.0 Miscellaneous |  |  |  |
| 5.1 Charger provided with following features |  |  |  |
| a. Automatic voltage regulation | Yes/No | : |  |
| b. Current limiting circuitry | Yes/No | : |  |
| c. Smoothing filter circuit | Yes/No | : |  |
| d. Soft-start feature | Yes/No | : |  |
| e. Automatic load sharing during parallel operation | Yes/No | : |  |
| 5.2 SCR elements provided with |  |  |  |
| a. Surge protection | Yes/No | : |  |
| b. Fast acting HRC fuse | Yes/No | : |  |
| 5.3 Maximum temp. within cubicle above 40oC ambient |  |  |  |
| a. Rectifier transformer | oC | : |  |
| b. SCR | oC | : |  |
| 5.4 Charger auxiliary equipment along with necessary annunciations furnished as per specification | Yes/No | : |  |
| 5.5 Cooling |  |  |  |
| a. Type |  | : |  |
| b. Number of fans |  | : |  |
| c. Operating time at full load without forced air cooling |  | : |  |
| 5.6 Technical literature for charger and auxiliary equipment furnished | Yes/No | : |  |

1.10.6	LV Aux. Transformer

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make |  | : |  |
| 1.2 Type |  | : |  |
| 1.3 Number of phase |  | : |  |
| 1.4 Frequency | Hz | : |  |
| 1.5 Type of cooling |  | : |  |
| 1.6 Class of insulation |  | : |  |
| 2.0 Rating |  |  |  |
| 2.1 Capacity | KVA | : |  |
| 2.2 Rated voltage |  |  |  |
| a. H.V. | KV | : |  |
| b. L.V. | KV | : |  |
| 2.3 Rated current |  |  |  |
| a. H.V. | Amp | : |  |
| b. L.V. | Amp | : |  |
| 3.0 Performance |  |  |  |
| 3.1 Guaranteed loss at 100% rated voltage and rated frequency | KW | : |  |
| 3.2 No load loss | KW | : |  |
| 3.3 Copper loss at full load at 75oC | KW | : |  |
| 3.4 Efficiency at 75oC at unity power factor |  | : |  |
| a. at full load | % | : |  |
| b. at 3/4th load | % | : |  |
| c. at 1/2th load | % | : |  |

1.10.7	Not Used

1.10.8	A.C. Distribution Board

| 1.0 General |  |  |  |
| --- | --- | --- | --- |
| 1.1 Make & Type |  | : |  |
| 1.2 Degree of protection |  | : |  |
| 1.3 Sheet steel thickness | mm | : |  |
| 1.4 Mounting |  | : |  |
| 1.5 Dimension (LxDxH) | mm | : |  |
| 1.6 Weight | Kg | : |  |
| 1.7 Fuse/MCB |  |  |  |
| a. Make |  | : |  |
| b. Type & characteristic for branch circuit protection |  | : |  |
| 1.8 Terminals |  |  |  |
| a. Make & Type |  | : |  |
| b. 20% spare terminals furnished | Yes/No | : |  |
| 1.9 Technical literature/curves for fuse, circuit breakers switches furnished | Yes/No | : |  |

1.11	LIGHTING SYSTEM

1.11.1	Lighting Fixtures

| Fixture Type | Make |  | Cat No. |
| --- | --- | --- | --- |
| 1.1 |  | : |  |
| 1.2 |  |  |  |
| 1.3 |  |  |  |
| 1.4 |  |  |  |
| 1.5 |  |  |  |
| 1.6 |  |  |  |
| 1.7 |  |  |  |

Add space if required

1.11.2	Catalogue of Lighting Fixtures furnished ?	:

1.11.3	Method of Calculation

| a) Coefficient of utilisation |  | : |  |
| --- | --- | --- | --- |
| b) Maintenance Factor |  | : |  |

1.11.4	Lighting Panel

| a) Make |  | : |  |
| --- | --- | --- | --- |
| b) Type |  | : |  |
| c) Enclosure Type |  | : |  |
| d) Typical drawing to be furnished/ catalogue to be furnished |  | : |  |

1.11.5	Receptacles	5/15A		10/20A	63A

| a) Make |  | : |  |
| --- | --- | --- | --- |
| b) Type |  | : |  |
| c) Voltage |  | : |  |
| d) Catalogue furnished ? |  | : |  |

1.11.6	Ceiling Fan

| a) Make |  | : |  |
| --- | --- | --- | --- |
| b) Type |  | : |  |
| c) Model |  | : |  |

1.11.7	Lighting Pole

| a) Make |  | : |  |
| --- | --- | --- | --- |
| b) Type |  | : |  |
| c) Height/diameter |  | : |  |
| d) Catalogue furnished ? |  | : |  |

1.12	DIESEL GENERATOR SET

1.12.1	Diesel Engine

1)	Make				:

2)	Type				:

a)	Number of cycles		:

b)	Number of cylinder		:

c)	Cylinder Orientation		:

d)	R.P.M			:

3)	Service			:

4)	Bore x Stroke-cm		:

5)	Piston displacement-cm3		:

6)	Type of Cooling		:

7)	Lubrication type		:

8)	Exhaust duct-mm		:

9)	Governor type / class		:

10)	Governor performance compliant with the specification	Yes / No	:

11)	Fuel consumption at---

a)	25% Load-gms/kWH		:

b)	50% Load-gms/kWH		:

c)	75% Load-gms/kWH		:

d)	100% Load-gms/kWH		:

e)	110% Load-gms/kWH		:

12)	Starting system		:

13)	Compression ratio		:

14)	Maximum noise level at a distance of 1 m	:

15)	Starting time when		:

a)	starting air pressure is at lowest permissible value		:

b)	when the air is at rated pressure	:

16)	Margin provided with respect to generator rating		:

17)	Standard to which engine confirms	:

18)	Continuous rating of engine at maximum ambient 50 degC Conditions kWb		:

19)	Short term 1 hour in 12 hour output rating- kWb		:

20)	Thermal efficiency at rated full load rating- %		:

21)	Engine BMEP at full load rating- Bar				:

22)	Maximum tolerable step load (as percentage of full load)- %		:

23)	Time from start initiation to full load acceptance under minimum cold start conditions (engine capability)- Secs.		:

24)	Engine aspiration 		:

25)	Engine air intake filter		:

a)	Type			:

b)	Manufactured by		:

26)	Power consumption by auxiliaries- kW		:

27)	DG set complete with pipes, fittings, valves etc.?		:

1.12.2	Generator

1)	Make				:

2)	Type				:

3)	a)	Service		:

b)	Type of Cooling		:

4)	Rating

a)	Continuous output rating at 0.8pf and maximum site ambient 50 degC- kW		:

b)	Short term 1 hour in 12 hour output rating-kW		:

c)	Voltage-Volts		:

d)	Phase			:

e)	R.P.M.			:

f)	Power Factor		:

g)	Max. Transient Reactance(Sat/Unsat) %		:

h)	Max. Sub Transient Reactance(Sat/Unsat) %		:

i)	Steady State Reactance%		:

j)	Short circuit ratio		:

5)	Classification of cooling		:

6)	Degree of protection		:

7)	Material & construction of Rotor		:

8)	Material & construction of Stator		:

9)	Type of field coils		:

10)	Type of bearings 		:

11)	Bearing/Coupling arrangement		:

12)	Lubrication			:

13)	Insulation class		:

14)	Exciter type			:

15)	Exciter response 		:

16)	Type of voltage regulator		:

17)	KW rating of space heater		:

18)	Standard to which generator conforms			:

19)	Insulation class of Stator & Rotor Temperature rise limited to over 50 deg. C			:

- Stator in deg C		:

- Rotor in deg C		:

1.12.3	Performance

1)	Frequency regulation- %		:

2)	Voltage regulation-%		:

3)	Voltage regulation compliant with specification-Yes / no		:

4)	Generator efficiency at rated output-%			:

5)	Steady state operation

a)	Frequency variation from no load to full load -%		:

b)	Voltage variation from no load to full load-%		:

6)	Time required from starting to taking-up of full load-sec		:

7)	Grounding pads provided with base frame-Yes/No		:

8)	DG set dimension-mm x mm x mm				:

9)	DG set weight-kg		:

1.12.4	DG Control Panel

1)	Construction			:

a)	Make			:

b)	Type			:

c)	Sheet metal thickness –mm			:

d)	Degree of protection		:

e)	Dimension (L x D x H)-mm x mm x mm		:

f)	Weight-kg		:

2)	Internal Wiring:

a)	Wire type		:

b)	Voltage grade-Volts		:

c)	Conductor material		:

d)	Conductor size -mm²		:

3)	Protective Relays			Manufactured by	Type

a)	Voltage Restrained Overcurrent Relay (51VDG), 3 phase		:

- Standby Ground Fault Relay (51NDG), 1 phase		:

- Over/Undervoltage Relay (27 DG) with timer, 3 phase			:

- Over/Under voltage protection (59G/27G)		:

- Over/Under Frequency Relay (81 DG), 1 pole		:

f)	Reverse Power Relay (32DG)		:

g)	Differential relay (87 DG).		:

4)	Control & Indications

a)	Push Buttons---

i)	Manufactured by		:

ii)	Type & Cat. No.		:

iii)	Contact rating		:

Make & Continuous-Amp		:

Break (inductive)-Amp		:

b)	Lamps

i)	Manufactured by		:

ii)	Type & Cat No.		:

iii)	Watts/Voltage		:

iv)	Series resistance in ohm		:

v)	Lamp & lens replace from front		:

c)	Selector Switch

i)	Manufactured by		:

ii)	Type & Cat No.		:

iii)	3-position Stayput type		:

iv)	Contact rating		:

Make & Continuous-Amp		:

Break (inductive)-Amp		:

v)	Key interlock furnished -Yes/No		:

5)	Indicating Meters			Qty 	Make	 Type

a)	Ammeter (A)		:

b)	Voltmeter (V)		:

c)	Kilo-Watt hour meter (KWH)			:

d)	Kilo-Watt meter (KW)		:

e)	Power Factor meter (PF)		:

f)	Frequency meter (F)		:

6)	Location

7)	List of equipment provided in the panel furnished 	Yes/No	:

8)	List of indications provided in the panel furnished 	Yes/No	:

9)	Type of Mounting		:

1.12.5	Silencer

1)	Type				:

2)	Dimension (Lx D x H)-mm x mm x mm				:

3)	Weight-kg			:

1.12.6	Fuel Oil Service Tank

1)	Capacity-Litre			:

2)	Material of construction		:

3)	Dimension (Lx D x H)-mm x mm x mm				:

4)	Weight-kg			:

5)	Type of level switch		:

6)	Type of level indicator		:

7)	Type of fuel oil filter		:

8)	Air intake filter as specified provided-Yes/No		:

9)	Lubrication system with all accessories as specified provided-	Yes/No	:

10)	Exhaust system as specified provided-Yes/No		:

1.12.7	Governor

1)	Type				:

2)	Make				:

3)	Response time		:

4)	Steady state speed		:

5)	Steady state incremental speed regulation			:

6)	Class of governing and standard		:

1.12.8	Air Starting System

1)	Air compressor

a)	Make			:

b)	Type of compressor		:

c)	Reference Standard		:

d)	Capacity & number 		:

e)	Compete with accessories as specified? 		:

f)	Compressor driver 		:

i)	Type		:

ii)	Rating		:

2)	Air receiver

a)	Make			:

b)	Type			:

c)	Capacity & number		:

3)	Fittings and accessories		:

4)	Compressor weight-kg		:

5)	Complete package weight-kg		:

6)	Overall dimension-mm x mm x mm				:

7)	If electrical starting is adopted details of starting motor and Battery			:

1.12.9	Lube Oil System

1)	Type				:

2)	Complete with pumps, storage tank, filter, strainers?-Yes/No		:

3)	Tank capacity-Litre		:

4)	Tank dimensions-mm x mm x mm				:

5)	Type of pump drive		:

6)	Drive rating			:

7)	Drive standard		:

1.12.10	Cooling System

1)	Type				:

2)	Engine jacket capacity		:

3)	Expansion tank capacity & no.-Litre				:

4)	Expansion tank dimensions-mm x mm x mm			:

5)	Rating of cooling pump		:

6)	Type of pump drive		:

7)	Drive rating			:

8)	Drive standard		:

1.12.11	415V DG Motor Control Center

1)	General			:

2)	Make				:

3)	Type				:

4)	Reference Standard		:

5)	Voltage (Nom./Max./Current)-Volt/Amp.			:

6)	Phase, Frequency-No., Hz		:

7)	Short Circuit Rating

a)	Interrupting Symmetrical-kA			:

b)	Short time for 1 Sec.-kA rms			:

8)	Insulation level 1 min. 60 Hz. Voltage withstand-kV rms		:

9)	Enclosure Degree of Protection		:

10)	Construction			:

a)	Completely compartmentalized		:

b)	Working height limits from floor level-mm		:

c)	Control compartment provided with individual front access door?		:

11)	Busbar

a)	Material and Grade		:

b)	Reference Standard		:

c)	Continuous current at site condition and within cubicle-Amp.		:

12)	Control Module

a)	Control Modules – Fully drawout ?-Yes/No.		:

13)	Switch/CCB/Fuse

a)	Make			:

b)	Type			:

c)	Reference Standard		:

d)	Continuous current at site ambient and within cubicle-Amp.		:

14)	Contactor-

a)	Make			:

b)	Type, Duty class, utilization category		:

c)	Reference standard		:

d)	Continuous current rating at site ambient and within cubicle-Amp.		:

e)	Aux. Contact Rating		:

i)	Make & Continuous/ Break-Amp.		:

f)	Thermal Overload Relay and Single Phase Preventor		:

i)	Temperature compensated		:

ii)	No. and Type of contacts		:

15)	Push Button and Lamps

a)	Make			:

b)	Type & Catalog No.		:

c)	Rating			:

16)	Meter

a)	Make			:

b)	Type			:

c)	Reference Standard		:

17)	Current Transformer---

a)	 Make			:

b)	Type			:

c)	Reference Standard		:

d)	C.T. Ratings

i)	Current ratio-Amp/Amp		:

ii)	Rated burden, Accuracy Class-VA/		:

18)	Transducers

a)	Make			:

b)	Type			:

c)	Output-mA DC		:

19)	Secondary Wiring

a)	Type			:

b)	Voltage Grade		:

c)	Conductor Size (minimum) for Potential Circuit/Current & Control Circuit-mm2		:

d)	Cable Termination		:

e)	Cable entry provision from bottom or top		:

f)	Cable termination & connection arrangement furnished along with lugs and glands		:

g)	Ground Bus		:

i)	Material, size		:

h)	Cubicle Heater		:

i)	Thermostat controlled		:

ii)	Wattage, Voltage-Watts/Volts		:

20)	Test

a)	Routine tests on panel to be performed		:

21)	Type test certificate of similarly rated equipment furnished ?		:

22)	Finish Paint

a)	Inside/Outside		:

1.12.12	Battery (If used for starting )

1)	Make				:

2)	Type				:

3)	Service			:

4)	Reference Standard		:

5)	Rated Voltage-V		:

6)	Capacity-AH			:

7)	No. of Cells 			:

8)	AH efficiency at 8-hour discharge rate-%				:

9)	Cell voltage characteristics during duty cycle furnished?		:

10)	Expected life of battery -Hr		:

11)	Recommended charging rate for Float Charging-Volt per cell / Amp				:

12)	Recommended charging rate for Boost Charging in 8 hours-Volt per cell / Amp			:

13)	Battery racks

a)	Type of racks		:

b)	Material of racks		:

c)	Number of racks per battery		:

d)	Number of cells per rack		:

1.12.13	Battery Charger

1)	Manufactured by		:

2)	Type				:

3)	Service			:

4)	Input voltage, phase and frequency			:

5)	Input current-Amp.		:

6)	Output voltage-V DC		:

7)	Output current-Amp		:

8)	Enclosure degree of protection		:

9)	Regulation for 0-100%rated load with ±10% input voltage and ±5% frequency variation %		:

10)	Ripple content in DC out put with/without battery-%		:

11)	Charger provided with

a)	Automatic voltage regulation-Yes/No		:

b)	Current limiting circuitry-Yes/No			:

12)	Dimension (LxDxH)-mm x mm x mm				:

13)	Weight-kg			:

14)	Type of Mounting		:

1.12.14	DC Distribution Board

1)	Make				:

2)	Type				:

3)	Reference Standard		:

4)	Voltage (Nom./Max./Current)-Volt/Amp.			:

5)	Outgoing feeder rating (2-pole)-Amp.				:

6)	Enclosure Degree of Protection		:

7)	Mounting			:

8)	Dimension (L x D x H)-mmxmmxmm-		:

1.13	CABLE

M.V.	L.V.	Control

Cable	Cable	Cable

1.	Make				:

2.	Type				:

3.	Applicable Standards		:

4.	Voltage Grade			:

5.	Suitable for System with :-

a.	Service Voltage		:

b.	Neutral Earthing		:

6.	Max. Conductor Temperature		:

a.	Continuous	...  oC	:

b.	Short Time	...  oC	:

7.	Conductor :

a.	Material		:

b.	Size		...  mm2 	:

c.	No. & Diameter of wire in each conductor	 ... No./mm	:

8.	Shielding On Conductor :

a.	Material		:

b.	Type			:

c.	Thickness	...  mm	:

9.	Insulation

a.	Material		:

b.	Type			:

c.	Thickness	..  mm	:

10.	Shielding On Insulation

a.	Material		:

b.	Type			:

c.	Thickness	...  mm	:

11.	Inner Sheath

a.	Material		:

b.	Type			:

c.	Thickness	.. mm	:

d.	Extruded ?	Yes/No 	:

e.	Approx. Outside dia. over sheath 	..  mm	:

12.	Armouring

a.	Material		:

b.	Size		....No x dia.	:

c.	D.C. Resistance at 20oC	....Ohm/Km	:

13.	Overall Sheath

a.	Material		:

b.	Type			:

c.	Category		:

d.	Thickness		:

14.	Approximate overll diameter	...  mm	:

15.	Standard drum length with tolerance		...  mm	:

16.	Net Weight of Cable	...  Kg/Km 	:

17.	Continuous Current Rating for Standard IS Condition laid Direct		:

a.	In Ground		:

b.	In Duct		:

c.	In Air			:

18.	Short Circuit Current for 1 Sec.	..  KA	:

19.	Electrical Parameters at max. operating temperature		:

a.	Resistance	... Ohm/Km	:

b.	Reactance at  50 C/s.	... Ohm/Km	:

c.	Impedance	... Ohm/Km	:

20.	Recommended minimum bending radius				:

21.	Derating Factor for following Ambient Temp. in Air/Ground

a.	at 30oC		:

b.	at 35oC		:

c.	at 45oC		:

d.	at 50oC		:

22.	Group Factor for following Nos. of Cables laid Touching/2 x diameter centre to centre apart :

a.	Single Core cable (in trifoil)

i)	2 Nos.		:

ii)	3 Nos.		:

iii)	4 nos.		:

b.	Multicore Cable

i)	3 Nos.		:

ii)	4 Nos.		:

iii)	5 Nos.		:

iv)	6 Nos.		:

C INSTRUMETATION AND CONTROL

FIELD INSTRUMENTS

1.01.00 Pressure Transmitter

01.	Working Principle	:

02.	Type	:

03.	Output Signal	:

04.	Signal Processing	:

05.	Measuring Element	:

06.	Material of Element	:

07.	Static Pressure	:

08.	Turn-down ratio	:

09.	Span and Zero	:

10.	Enclosure Class	:

11.	Output Indicator	:

12.	Name Plate	:

13.	Body	:

14.	Operating Voltage	:

15	Load	:

16.	Ambient temperature	:

17.	Performance	:

i)	Accuracy	:

ii)	Repeatability	:

18.	Sealing /Isolation	:

19.	Accessories	:

20.	Make and Model No.	:

1.02.00 Differential Pressure Transmitter

01.	Working Principle	:

02.	Type	:

03.	Output Signal	:

04.	Signal Processing	:

05.	Measuring Element	:

06.	Material of Element	:

07.	Static Pressure	:

08.	Turn-down ratio	:

09.	Span and Zero	:

10.	Enclosure Class	:

11.	Output Indicator	:

12.	Name Plate	:

13.	Body	:

14.	Operating Voltage	:

15	Load	:

16.	Ambient temperature	:

17	Performance	:

i)	Accuracy	:

ii)	Repeatability	:

18.	Sealing /Isolation	:

19.	Accessories	:

20.	Make and Model No.	:

1.03.00 Mass Flow meter

A.	Sensor

01.	Measuring Principle 	:

02.	Primary Element	:

03.	Process Connection	:

04.	Drain 	:

05. Accessories	:

B.	Transmitter

01.	Measured Quantities	:

02.	Input Signal Processing	:

03.	Display	:

04.	Output	:

05.	Load	:

06.	Power supply	:

07.	Turn Down	:

08	Accuracy            	:

09.	Repeatability       	:

10.	Housing	:

11.	Hazardous Duty Version	:

12.	Accessories	:

13.	Make & Model No.       	:

1.04.00 Rotameter

01.	Type                	:

02.	Metering Tube	:

03.	Float	:

04.	Packing Material	:

05.	Casing	:

06.	Scale	:

07.	Process Connection	:

08.	Accuracy           	:

09	Accessories	:

10	Make & Model No.         	:

1.05.00 Pressure Gauge

01.   Type	:

02	Sensing Element Material	:

03.   	Movement Material            	:

04.   	Case Material       	:

05.   	Dial Size           	:

06.   	Scale	:

07.	Range Selection	:

08.	Over-range Protection	:

09.   	Adjustment	:

10.	Element Connection	:

11.	Process Connection 	:

12.	Performance	:

13.	Operating Ambient Temp.	:

14.	 Safety Feature      	:

15.	Accessories	:

16.	Other Features	:

17.	Applicable standard 	:

18.	Electrical Contact rating	:

19.   	Make   	:

1.06.00 Pressure Switch

01. 	Type               	:

02.	Sensing element material	:

03.	Case Material	:

04.	Setter Scale	:

05.	Over range	:

06.	Adjustment	:

07.	Process Connection	:

08.	Switch Configuration	:

09.	Switch Rating	:

10.	Switch Type	:

11.	Adjustability	:

12.	Sealing Ring	:

13.	Terminal Block	:

14.	Cable Connection	:

15.	Enclosure Class     	:

16..	Performance  :

a)	Accuracy	:

b)	Accuracy of Setting

Indication	:

17.	Accessories	:

18.	Make.	:

1.07.00 Level Switch

01.   Type                	:

02.   Float Material     	:

03.	Wetted parts        	:

04.	Switch Housing	:

05.	Enclosure Class 	:

06.	Switch Type	:

07.	Switch Configuration	:

08.	Contact rating	:

09.	Accessories	:

10.	Make	:

1.08.00 Ultrasonic Level Transmitter

Sensor

01.	Services	:

02.	Principle of Operation	:

03.	Measuring ranges	:

04.	Blocking distance	:

05.	Operating Frequency	:

06.	Pulse Frequency	:

07.	Operating temp.	:

08.	Protection	:

09.	Sealing face and

Diaphragm	:

10.	Attenuation due to Dust	:

11.	Electrical Connection 	:

Transmitter:

01.	Measuring principle	:

02.	Signal Processing	:

03.	Calibration	:

04.	Diagnosis	:

05.	Status indication	:

06.	Construction	:

07.	Protection	:

08.	Power supply	:

09.	signal Input	:

10.	Signal Output	:

11.	Hysterisis	:

12.	Indication	:

13.	Cabling	:

14.	Mounting	:

15.	Make	:

1.09.00 Solenoid Valve

01.	Operating Principle	:

02.	Coil Voltage rating	:

03.	Ways	:

04.	Port Size	:

05.	Body	:

06.	Trim	:

07.	Manual Operator 	:

08.	Duty	:

09.	Sealing	:

10.	Ambient Temp	:

11.	Fluid Temp.	:

12..	Coil Enclosure	:

13.	Insulation	:

14.	Coil casing	:

15.	Mounting	:

16.	Cable Connection	:

17.	Accessories	:

18.	Make	:

1.10.00  Pneumatic Control Valve

01.	Application	:

02.	Type	:

03.	Body Size & Rating	:

04.	Flange Material & Rating 	:

05.	Body Material	:

06.	Seat Material	:

07.	Bush Material 	:

08.	Packing Material	:

09.	Air supply	:

10.	Input Signal	:

11.	Action Air failure	:

12.	Angle of Operation	:

13.	Sizing Calculation Basis	:

14.	Actuator	:

15. 	Diaphragm Material	:

16.	Pneumatic Connection	:

17.	Electrical Connection	:

18.	Accessories	:

19.	Make			:

1.11.00 Orifice Plate assembly

01.	Application	:

02.	Design Standard	:

03	Plate Material	:

04.	Type and No. of Tapings	:

05.	Diameter Ratio	:

06.	Make & Model No.	:

1.12.00 Gauge Glass

01.	Type	:

02.	Glass	:

03.	Body material	:

04.	Pressure rating	:

05.	Temperature rating 	:

06.	Process Connection	:

07.	Bolts and nuts/accessories	:

08.	Make	:

1.13.00 SOx, NOx, CO, CO2 Analyzer

01.	Type	:

02.	Gases to be measured	:

03.	Principle of measurement	:

04.	Flue gas Temperature	:

05.	Ambient temperature	:

06.	Mounting	:

07.	Measurement range	:

08.	Units of measurement	:

09.	Power Supply	:

10. 	Display	:

11.	Measurement of averaging	:

12.	Accuracy	:

13.	Repeatability	:

14.	Response time	:

15.	zero & Span drift	:

16.	Calibration	:

17.	Analog output	:

18.	Alarm output	:

19.	Input normalisation	:

20.	Probe material	:

21.	Enclosure	:

22.	Accessories	:

1.14.00 Hydrocarbon Detector

01.	Type	:

02.	Typical range	:

03.	Output	:

04.	Operating ambient temp.	:

05.	Power Supply	:

06.	Response time	:

07.	Hazard class	:

08.	Accessories	:

09.	Make & Model No.	:

2.00.00	       CABLES

2.01.00      Instrumentation Signal Cable

01.   	Type                	:

02.   	No. of pairs        	:

03.   	Reference Standard  	:

04.   	Conductor Material  	:

05.   	Conductor Size      	:

06.   	Core Insulation          	:

07.	Pair Identification 	:

08.	Lay                 	:

09.   	Shielding           	:

10.  	Drain Wire          	:

11. 	Inner Sheath          	:

12. 	Armoring        	:

13.	Outer Sheath         	:

14.	Continuous Operating

Temperature 	:

15.	Voltage Grade       	:

16.	FRLS Tests	:

17.	Physical Tests	:

18.	Insulation Tests	:

19.	Supplier	:

2.02.00  Optical Fibre Cable (Multimode Fibre)

01.	Cladding Diameter	:

02.	Cladding non-circularity	:

03.  	Attenuation Coefficient at

(a)	1290 nm to 1340 nm	:

(b)	1525 nm to 1575 nm	:

04. 	Chromatic Dispersion

Coefficient at

(a)   1310 nm	:

(b)	1550 nm	:

05.  	Polarization Mode

Dispersion (PMD)	:

06.   	Mode Field Diameter at

(a)   1310 nm	:

(b)	1550 nm	:

07.   	Mode Field Concentricity

Error	:

08.   	Proof Test          	:

10.  	Accessories        	:

3.00.00 ERECTION MATERIALS

3.01.00        Electrical Junction Box

01.	Quantity            	:

02.	Type of Enclosure   	:

03.	Material            	:

04.	Type of Cover       	:

05.   	Number of coats     	:

06.	Mounting            	:

07.   	Cable Entry         	:

08.	Gasket              	:

09.	Grounding           	:

10.	Number of Drain

Holes 	:

11.	Terminal Block      	:

12.	Tag Plate	:

13.	Make	:

14.	Model No.	:

4.00.00	Programmable Logic Controller (PLC)/ Distributed Control System (DCS)

| Sl. No. | Technical Particulars |  |  | Bidder’s data , confirmation (Yes / No) (Y/N) ) & Clarification (if any) |
| --- | --- | --- | --- | --- |
|  | Make |  |  |  |
|  | Model No. |  | : |  |
|  | Manufacturing unit location |  | : |  |
|  | Design Engineering office location |  | : |  |
|  | Which year the offered model no. has been first supplied in a Power plant? How long the manufacture of the present range of PLC/DCS as offered , is expected to continue without major alteration or up gradation in terms of processors or the software platform? |  | : |  |
|  | Third party system integrators shall not be provided and only main PLC/DCS manufacturer shall be allowed to do the design engineering , system integration etc.(Y/N) |  | : |  |
|  | All I/O ,Processor , network interface, communication modules etc., shall be sourced from their Original Principal's works.(Y/N) |  | : |  |
|  | System Redundancy as per specification (Y/N) |  | : |  |
|  | System Spare Philosophy as per specification (Y/N) |  | : |  |
|  | Maximum Permissible Loading as per specification (Y/N) |  | : |  |
|  | Scanning and updating time as per specification (Y/N) |  | : |  |
|  | Controller Sub-System |  |  |  |
|  |  | Make and model no. | : |  |
|  |  | On line replacement of Standby Controller(Y/N) | : |  |
|  | Input/ Output Sub-Systems |  |  |  |
|  |  | Make and model no. | : |  |
|  |  | On line replacement of I/O module (Y / N) | : |  |
|  | Data Highway |  |  |  |
|  |  | Data highway communication speed | : |  |
|  |  | Information/ MIS Network speed | : |  |
|  |  | Communication Protocol | : |  |
|  | Human Machine Interface & Peripherals |  |  |  |
|  |  | Workstations, printers, etc. supplied as per specification requirements (Y/N) | : |  |
|  | Operator’s & Engineering Station |  |  |  |
|  |  | Make/ Model No. | : |  |
|  | Keyboard |  |  |  |
|  |  | Make/ Model No. | : |  |
|  | Printer |  |  |  |
|  |  | Type | : |  |
|  |  | Make/ Model No. | : |  |
|  | Ethernet/ Network Switches |  |  |  |
|  |  | Make | : |  |
|  |  | Model No. | : |  |
|  |  | Type as per specification (Y/N) | : |  |
|  | Software as per specification (Y/N) |  | : |  |
|  | General |  |  |  |
|  |  | All erection hardwares(Y/N) | : |  |
|  |  | Total Power Consumption | : |  |
|  |  | Total heat dissipation of each System in BTU / H | : |  |
|  |  | MTBF | : |  |
|  |  | Confirm that all additional hardware and software, over & above those indicated in the proposal, if required during detail engineering stage for fully meeting the intent and requirements of Specs, shall also be supplied by the Bidder within the quoted price |  |  |
|  |  | Any other special features | : |  |

5.00.00 	Operator’s Station / Engineering Station

5.01.00	Operator’s Station

01.	Processor	:

02.	Configuration	:

03.	Internal clock	:

04.	Architecture	:

05.	Video Card	:

06.	System Memory	:

07.	Hard drive	:

08.	Cache	:

09.	Floppy drive	:

10.	CD Drive	:

11.	Audio controller	:

12.	Monitor support	:

13.	Operating system	:

14.	Video RAM	:

15.	Make & Model No.	:

5.02.00        Monitor

01.	Type	:

02.	Sync.	:

03.	Screen diagonal	:

04.	Display  	:

04.	Array	:

05.	Colors	:

06.	Dot Per inch	:

07.	Degree of protection	:

08.	Screen	:

09.  	Glare filter	:

10.	External Controls	:

11.	Power supply             	:

12.	Ambient temperature 	:

13.	Humidity            	:

14.	Version	:

15.	Make & Model No.	:

5.03.00      Key Board

01.   	Type                	:

02.	Different keys      	:

03.	Key lock 	:

04.	Life Expectancy         	:

05.	Version	:

5.04.00         Printer

Laser Printer

01.	Type                	:

02.  	Printer Memory        	:

03.	Speed               	:

04.  	Resolution        	:

05.	No. of color  (Basic)     	:

06.	Duty cycle         	:

07.	Power supply        	:

08.	Ambient temperature 	:

09.  	Humidity            	:

10.	Size of paper       	:

11.	Print media	:

12.  	Accessories         	:

D. CIVIL, STRUCTURAL AND ARCHITECTURAL WORK

- Civil and Structural work conform to scope of work of the Specification

- Dismantling and demolishing work  conform to scope of work of the Specification

- Architectural work conform to scope of work of the Specification

# SCHEDULE-IV

# LIST OF MAJOR EQUIPMENT MANUFACTURERS

The makes of all major equipment shall be filled in by the Bidder in this Schedule:

| Sl. No. | Item | Manufacturer |
| --- | --- | --- |

# SCHEDULE-VII

## SPECIAL TOOLS AND TACKLE

Bidder shall tabulate below item wise all Special Tools and Tackle for operation, maintenance and replacement of equipment and components supplied under the specification. All tools and tackle supplied shall be complete with required container and boxes. Additional sheets may be used, if required.

| Sl. No. | Description | Quantity Offered |
| --- | --- | --- |

# SCHEDULE-X

DRAWING SUBMISSION SCHEDULE

The Bidder shall completely fill in the following schedule, without this filled in schedule, offer is liable to be rejected.

| Sl. No. | Drawing No. | ### Title of Drawing | Date of submission for approval after issue of the L.O.I. |
| --- | --- | --- | --- |

# SCHEDULE-XI

DELIVERY AND COMMISSIONING SCHEDULE

Bidder shall indicate the periods for the key milestones as indicated below.  A detailed schedule in the form of network shall, however, be submitted as called for in the specification.  Period shall be counted from the date of issue of the Letter of Intent.

| Sl. No. | Description | Start Date | Duration |
| --- | --- | --- | --- |
|  | Completion of Design Activities |  |  |
|  | Manufacturing and Delivery at site of GEG Units |  |  |
|  | Manufacturing and Delivery at site of Other Equipment |  |  |
|  | Site Mobilization |  |  |
|  | Site enabling activities including dismantling of existing civil foundation |  |  |
|  | Dismantling / rerouting of existing gas pipe line |  |  |
|  | GEG Building and Annex RCC auxiliary bay Foundation |  |  |
|  | GEG Foundation |  |  |
|  | Civil Works – GCS skid / Structures |  |  |
|  | GEG Building and Annex RCC auxiliary bay Superstructures |  |  |
|  | Civil Works – Existing 20.28 MW Switchgear and cable spreader building extension |  |  |
|  | Civil Works – New Store building and Air compressor building |  |  |
|  | Erection, Testing and commissioning of Fire Protection system |  |  |
|  | GFS Erection |  |  |
|  | GFS commissioning and ready for operation |  |  |
|  | Completion of erection, testing & commissioning of GEG and other equipment and facilities |  |  |
|  | Start of trial operation of GEG units |  |  |
|  | Completion of trial operation of GEG units |  |  |
|  | Completion of Reliability for each GEG unit |  |  |
|  | Completion of Unit Commissioning |  |  |
|  | Completion of Plant Commissioning |  |  |
|  | Completion of performance and guarantee test of three GEG units |  |  |

# SCHEDULE-XII

# EXPERIENCE LIST

The Bidder shall fill up a list of his experience of supply and commission of similar plant as per format given in Form-1, Book 6.

# SCHEDULE-XIII

DECLARATION SHEET

| I, ..................................................................... certify that all the above typed in data and information pertaining to this specification are correct and is a true representation of the equipment and services covered by our formal proposal number ................................. .................... dated .............................. I hereby certify that I am duly authorised representative of the Prime Bidder whose name appears above by signature. |  |  |
| --- | --- | --- |
| Prime Bidder’s Name | : | .................................................................. |
| Authorised Representative’s Name (Typed) | : | ................................................................. |
| Manufacturer’s Intent | : | The manufacturer hereby agrees to fully comply with the requirements and intent of this specification for the price indicated. |
| Authorised Representative’s Signature | : | .................................................................. |