PRE BID QUERY

| S.NO | Tender reference | Subject | Bidder’s Query | Reply for Query |
| --- | --- | --- | --- | --- |
| MECHANICAL QUERIES |  |  |  |  |
|  | Forwarding letter, Cl. xviii, Page 2 of 219 | O&M Contract | Please clarify the following points regarding 10 years O&M Contract: - Whether O&M Contract will be signed along with the construction contract, immediately after bid opening or the O&M Contract will be signed separately at the end of construction period. - Whether either party (both the Owner and Contractor) is free to opt for the 10 years O&M Contract. | The O & M contract will be a separate Contract which will be signed separately at the end of the construction period. Only the Owner reserves the right to opt for 10 years O & M Contract. |
|  | Section III, Special Conditions of contract, Price Schedule, Page 127 of 219 | Price Schedule | Please provide the MS Excel format of Price schedule for the use of bidders. It is not possible to fill the price in PDF document. | You are requested to quote the prices as per the Format enclosed in the Tender document. No Excel Format will be provided. |
|  | Section III, Special Conditions of contract, Price Schedule, Page 176 of 219 to page 219 of 219. Technical Specifications Page 612 of 3026 | Submittals | Please provide the MS word format of all data sheets, Proformas and bid submittals to be submitted with bid. | MS word format of all data sheets, Proformas and bid submittals to be submitted with bid cannot be provided |
|  | Section III, Special Conditions of contract, Part 3, Page 83 of 219 | Price adjustment | We request to provide for price adjustment formula for chemicals, fuels, Power charge, manpower, materials, equipment and all component of this project till the end of O&M period. | No price adjustment formula for chemicals, fuels, Power charge, manpower, materials, equipment and all component of this project till the end of O&M period is applicable/ payable by Owner. |
|  | Doc No. A843-806-83-41-VL-01, Approved vendor list, Page – 1041 of 3026 | Approved vendor list | Please provide the approved vendor for following items: - Bio Remediation package - Boiler - Glass flaked vinyl ester lining - Glass flaked vinyl ester lined tanks - FRP tanks - Cooling tower | There is no EIL approved supplier list for these items. Contractor shall propose vendor vendor based on Proven track Record of having supplied similar equipment in other hydrocarbon/process industry. |
|  | Doc No. A843-806-83-41-VL-01, Approved vendor list, Page – 1041 of 3026 | Approved vendor list | Please provide the approved vendor for following items: - Dissolved air flotation unit - TPI oil separation unit | Vendor list for both attached in the tender. For DAF refer approved vendor list for Air Floatation Unit. For TPI Separator refer approved vendor list for Plate Interceptors. |
|  | Doc No. A843-806-83-41-VL-01, Approved vendor list, Page – 1041 of 3026 | Approved vendor list | Please provide the approved vendor for following items: - Mechanical De oxygenation System - Oxygen Scavenging chemical Supplier - VOC collection and treatment system - Steam tracing system | There is no EIL approved supplier list for these items. Contractor shall propose vendor based on Proven track Record of having supplied similar equipment in other hydrocarbon/process industry. |
|  | Tender Drawing number, A843-806-1744-1003, Scope drawing for ETP | Plot plan | Please provide the AutoCAD format of the Plant Plot plan and boundary, so that the bidder could be able to develop their layout inside the boundary. | These drawings are not required for bid purpose. Soft files will be provided to successful bidder after award |
|  | Tender Drawing number, A843-806-1744-1003, Scope drawing for ETP | Hazardous zone | Please mention the Hazardous zone area in the plot plan. | Area classification drawing is to be prepared by Contractor during engineering and hazard zones shall be as per the same. |
|  | Tender Drawing number, A843-806-1744-1003, Scope drawing for ETP | Battery limits | Please mention the bidder’s battery limits (Tapping points) for following items in the drawing for better understanding and working purpose: - Natural Gas - Fire water Also please mention the distance from the ETP boundary for the above mentioned tapping points. | Natural Gas shall be available to bidder at ETP Battery Limit. Fire Water Tie-in point location specified in tender. |
|  | Tender Drawing number, 6-44-0007-A2 Rev 1, Typical drawings for Steam tracing, Page 1181 of 3026 | Steam tracing | Since utility steam is not available at the site, we understand that the steam tracing is not applicable for this project. Please confirm. | Bidder’s understanding is correct. |
|  | Tender specification A843-806-17-44-SP-01, Cl. 2, Page 17 of 3026 | Commissioning, Trail run, PG test | As per the referred tender clause the period for trial run is mentioned as 30 days and the PG test is for 72 Hours. However as per preamble for price schedule, Section III, Page 124 of 219, the period for PG test is mentioned as continuous 3 Months. Also the period for commissioning is not mentioned. Please clarify the minimum period for Commissioning, Trail run and PG test separately. | Trial run shall be for 30 days and the PG test for 72 Hours |
|  | Tender specification A843-806-17-44-SP-01, Cl. 5.5, Page 24 of 3026 | Sludge Bio reactor | Please provide the retention time required and specifications for sludge bio reactor. We could not able to find out the same in the tender document. | Shall be as per technology supplier recommendation |
|  | Tender specification A843-806-17-44-SP-01, Cl. 6.1.5, Page 26 of 3026 | DAF Scrapper | We understand that Scrapper will not be applicable for DAF. Only Screw Augur will be applicable. Please confirm. | Shall be as per approved DAF supplier design |
|  | Tender specification A843-806-17-44-SP-01, Cl. 6.3, Page 27 of 3026 | Natural Gas | Please mention the cost at which the Natural gas will be supplied to contractor till the end of 10 Years O&M period. We could not able to find out the same in the tender document. | OIL to reply |
|  | Tender specification A843-806-17-44-SP-01, Cl. 6.3, Page 27 of 3026 | Oxygen scavenger Chemical | Please provide the specifications and details of Oxygen scavenger chemical. | Bidder to select the chemical based on tender specifications. |
|  | Tender specification A843-806-17-44-SP-01, Cl. 7.0, Page 31 of 3026 | Hydro carbon storage tank | We understand that Hydro carbon storage tank and Foam system could not be applicable for this project. Please confirm. | Bidder to follow tender specifications. |
|  | Tender specification A843-806-17-44-SP-01, Cl. 11, Page 35 of 3026 | Pressure class of incoming pipes | Please mention the Pressure class of all incoming Effluent pipes, service water pipes and Natural gas pipes. Only pipe MOC is mentioned in the tender drawings. | Refer PMS attached with tender. |