| PROJECT ENGINEERING |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | PART III/SECTION II of ITB | 101 | Statutory approval | We presume that EPMC will prepare required drawing & document, follow up and obtain "Consent to establish" from DGMS & PCB and EPC contractor (selected Bidder) will prepare necessary drawing and document, Liasiaon for obtaining "Consent to operate" from above statutory boies. Required fees/ demand note against document shall be borne by owner. Kindly confirm. Kindly forward the detailed scope for obtaining NOC/ approval from other statutory bodies like Fire, Factory, Local authority, PESO, IBR, Environment etc., if applicable for the bidder. | Please refer Volume-1, Part-3 Section-II clause-5.0 |
|  | PART III/SECTION II of ITB | 74 | Basic Engineering & Front End Engineering Design (FEED) | After going through the tender document, we understand that preparation of fabrication drawings, data sheets, piping layout, other construction drawing based on EPMCs drawing and As-built drawing and getting approval is in the scope of bidder. Kindly confirm. | Bidder understanding is correct |
| 2 | PART III/SECTION II of ITB | 82 | Site office, storage yard, Fabrication yard and workmen hurtment | We understand that required space for Site office, storage yard, Fabrication yard inside plant till completion of construction work will be provided without any charge. Kindly confirm | Space for temporary site office, storage yard, fabrication yard and the workers rest area will be provided by OIL within the boundary of the Project site without any charge until the commissioning of the plant. |
| 3 | PART III/SECTION II of ITB | 74 | Soil investigation and Tropographical survey | We understand that soil investigation and tropographical survey is already firmed up by EPMC. Only survey for construction is in the scope of EPC contractor. Kindly confirm | Bidder understanding is correct |
| 4 |  | 76 | Construction power, water and other utilities | We understand that Construction power, water and other utilities is to be arranged by EPC contractor. Kindly confirm and could you please provide detail of power from Grid/ distribution line with voltage available nearby plant | Bidder understanding is correct. Bidder shall arrange the power on their own. |
| 5 |  | 44, 73, 75, 79, 163 | HAZOP study, SIL study etc. for OCS and close-out | Kindly confirm whether HAZOP study, SIL study etc. for OCS and close-out is in the scope of EPC Contractor? | Detailed HAZOP study and SIL study are EPC contractor’s scope. |
| 6 |  | 103 | Spares | We understand that bid should include cost of maintenance spares for two years, recommended spares and mandatory spares. Kindly confirm | Bidder shall include price for commissioning spares and mandatory spares for 2 years operation & maintenance in the LSTK cost. |