| CIVIL |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Civil |  | Area Layout ,DRW No 1190-L-DW-400-01 | Kindly clarify,the area below the equipment, viz. Foam System,Water supply System,Crude Metering System etc Should be Gravell Fill or it should be of RCC Paved. | This systems will be skid mounted on RCC foundations. |
| 2 | Civil |  | Inlet Manifold, DWG No 1190-L-DW-401 | Kindly Clarify ,Whether we have to provide Concrete pavement below Inlet Manifold system.? | Yes.(PCC) |
| 3 | Civil |  |  | We understand that the level of Plot is lower than the level of approach road and may require additional filling work. Please confirm the extent of filling if it is in scope of Bidder? | will be provided as addendum |