| CIVIL |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 1 | Civil & Construction |  | Drawings | Please provide Architectural layout for Buildings – Security Hut, Substation & control Room,Storage & Maintenance workshop, Office Buildings and Conference Hall, Security Accommodation Building. | Only basic requirement is provided. However plan will be provided for reference as an addendum to the tender. All Building & structures are RCC with Brick infill. |