Oil India Limited

Tender No. TCE-7547A-H-OST-300

CORRIGENDUM NO.05 :    DATED:25-06-2015

| Sl. No. | Section | Sheet no. | Spec No. | Clause No. | Modification / New Clause |
| --- | --- | --- | --- | --- | --- |
| PROCESS |  |  |  |  |  |
|  | Section-II | 2 of 8 Gas engine for pumps | TCE.7547A-H-OST-300 | clause no. 2.4 (sheet 2 of 8) & 4.2 Data sheet A (sh 1 of 3) | "The continuous net engine brake horse power rating (after accounting for all auxiliary power consumption) at the site condition shall be at least 20% greater than brake horse power required to drive the pump at its duty point at the rated rpm and in no case less than the brake horse power required to drive the pump at 150% of rated discharge or at any condition of operation of pump". Shall be read as “The continuous net engine brake horse power rating (after accounting for all auxiliary power consumption) at the site condition shall be at least 20% greater than brake horse power required to drive the pump at its duty point at the rated rpm”. |
|  |  |  |  |  | RIM Seal Protection Vendor list i. M/s Vimal Fire Private limited, Mumbai ii. M/s DE’s TECHNICO PRIVATE LIMITED, Kolkata ·iii.M/s Fitech Equipments India Pvt Ltd. |
| ELECTRICAL |  |  |  |  |  |
|  | Section:3.30 |  | TCE.M4-203-71 |  | The pumps used for ETP alone are controlled with VFD. Hence the VFD specification with datasheet is attached herewith. |
|  | Section:3.22 | 14of14 | TCE.7547A-H-OST-300 | 58 | The Vendor list for Cathodic protection is M/s. Corretech International Pvt. Ltd. M/s . Corrosion Matter M/s. Raychem RPG (P) Ltd |
| INSTRUMENTATION |  |  |  |  |  |
|  | Section 4.2.35 | Sheet 3 of 3 | TCE.7547A-H-OST-300 |  | Control valve follow up sheet is attached herewith. |
|  | Section 4.2.35 |  | TCE.7547A-LS-580-2003 |  | Instrument IO List is attached herewith. |
|  | Section 4.4.6 |  | TCE.7547A-H-OST-300 | FO cable from STF to CTF | This is to confirm that the scope of supply, laying and integration of FO cable from STF to CTF and all related jobs appearing anywhere in the Tender stands omitted from EPC`s scope for this Tender. Bidders to take note of the same. |
| CIVIL |  |  |  |  |  |
| Tentative BOQ of Furniture is provided herewith |  |  |  |  |  |
| GENERAL |  |  |  |  |  |
| The definition of PGTR appearing in the Tender is re- defined as follows: 3 (three) months uninterrupted trouble free operation shall be read as 3 (three) months uninterrupted (maximum 3 times of 4 hours interruption is allowable) trouble free operation. Interruption beyond the specified number will reset the date to start of trial run. The PGTR can be conducted within the 3 months period after 30th day. |  |  |  |  |  |